## Cover
Generator Technical Data - PUBLIC
www.eca-uk.com
©2020 Economic Consulting Associates Ltd

## Info
Generator Technical Data - PUBLIC
Client | Commission for Regulation of Utilities and Utility Regulator
Date | 2020-01-24
Disclaimer ECA has provided to the Regulatory Authorities a public and a confidential version of a PLEXOS model of the electricity market of Ireland and Northern Ireland along with supporting spreadsheets and data files (collectively the “Model”), where we expect the Regulatory Authorities will make the public version available for download on the internet. This Model produces simulations for future years that are based on current data, historical trends and, in some cases, projections of exogenous factors impacting the market. ECA accepts no responsibility if outturns differ from the simulations and no obligation is assumed to revise the Model to reflect subsequent changes, events or conditions and ECA shall have no responsibility for any changes to the assumptions that are input to the Model. Economic Consulting Associates (ECA) shall not have any liability to the Client or any third party in respect of this Model or any actions taken or decisions made as a consequence of the simulations and results produced by the Model. The confidential version of the Model is exclusively for use by the Regulatory Authorities.

## Generator Techncial Data
Generator Technical Data - PUBLIC
Plant ID | [5 empty] | Fuel type |  |  |  |  | Capacity |  |  | Heat Rate Curve | [10 empty] | Forced Outages |  | TOD |  |  |  | Starts
Company Name | Jurisdiction | SEM Unit ID | Plexos Unit ID | Unit Name | Change Date for New Unit Characteristics | Start Fuel 1 | Percent 1 | Start Fuel 2 | Percent 2 | Fuel for Generation and No Load | Min Stable Capacity (MW) | Max Capacity (MW) | Summer Rating--Where Different (MW) | No Load Heat Requirement (GJ/hr) | Capacity point 1 (MW) | Capacity point 2 (MW) | Capacity point 3 (MW) | Capacity point 4 (MW) | Capacity point 5 (MW) | Heat Rate Inc 1 (GJ/MWh) | Heat Rate Inc 2 (GJ/MWh) | Heat Rate Inc 3 (GJ/MWh) | Heat Rate Inc 4 (GJ/MWh) | Heat Rate Inc 5 (GJ/MWh) | Forced Outage Rate,% | Mean Time to Repair, hrs | Ramp Rate Up, MW/min | Ramp Rate Down, MW/min | Min Up Time (hrs) | Min Down Time (hrs) | Start up Energy (GJ) Hot | Start up Energy (GJ) Warm | Start up Energy (GJ) Cold | Hot to Warm boundary, hrs | Warm to Cold boundary, hrs
ESB | ROI | GU_400200 | AA1 | Ardnacrusha 1 |  | Water | 100% |  |  | Water |  | 21 | [12 empty] | 4.5% | 86 | 0.42 | 0.42
ESB | ROI | GU_400201 | AA2 | Ardnacrusha 2 |  | Water | 100% |  |  | Water |  | 22 | [12 empty] | 4.5% | 86 | 0.47 | 0.47
ESB | ROI | GU_400202 | AA3 | Ardnacrusha 3 |  | Water | 100% |  |  | Water |  | 19 | [12 empty] | 4.5% | 86 | 0.33 | 0.33
ESB | ROI | GU_400203 | AA4 | Ardnacrusha 4 |  | Water | 100% |  |  | Water |  | 24 | [12 empty] | 4.5% | 82 | 0.55 | 0.55
ESB | ROI | GU_400850 | ADC | Aghada CCGT |  | Gas | 100% |  |  | Gas | 130 | 440 |  | 589.4 | 130 | 200 | 320 | 380 | 440 | 3.177 | 5.297 | 5.393 | 5.757 | 5.814 | 6.2% | 192 | 8.83 | 12.38 | 4 | 4 | 1200 | 1200 | 1200 | 12 | 60
ESB | ROI | GU_400181 | AT1 | Aghada CT 1 |  | Gas | 100% |  |  | Gas | 15 | 90 |  | 275.9 | 40 | 90 |  |  |  | 7.573 | 9.396 |  |  |  | 6.2% | 174 | 5 | 5 | 0.5 | 1 | 63 | 63 | 63 | 12 | 48
ESB | ROI | GU_400182 | AT2 | Aghada CT 2 |  | Gas | 100% |  |  | Gas | 15 | 90 |  | 275.9 | 40 | 90 |  |  |  | 7.573 | 9.396 |  |  |  | 6.2% | 174 | 5 | 5 | 0.5 | 1 | 63 | 63 | 63 | 12 | 48
ESB | ROI | GU_400183 | AT4 | Aghada CT 4 |  | Gas | 100% |  |  | Gas | 15 | 90 |  | 275.9 | 40 | 90 |  |  |  | 7.573 | 9.396 |  |  |  | 6.2% | 174 | 5 | 5 | 0.5 | 1 | 63 | 63 | 63 | 12 | 48
POWERNI | NI | GU_500140 | B10 | Ballylumford CCGT Unit 10 |  | Gas | 100% |  |  | Gas | 63 | 101 | 98.9 | 88.335 | 63 | 101 |  |  |  | 6.003 | 6.003 |  |  |  | 6.2% | 72 | 1.06 | 3.98 | 0.02 | 4 | 135 | 225 | 405 | 8 | 40
POWERNI | NI | GU_500130 | B31 | Ballylumford CCGT Unit 31 |  | Gas | 100% |  |  | Gas | 113 | 247 | 244.1 | 351 | 113 | 247 |  |  |  | 5.715 | 5.715 |  |  |  | 6.2% | 72 | 11 | 11 | 0.02 | 4 | 639 | 1134 | 2025 | 8 | 40
POWERNI | NI | GU_500131 | B32 | Ballylumford CCGT Unit 32 |  | Gas | 100% |  |  | Gas | 113 | 247 | 244.1 | 351 | 113 | 247 |  |  |  | 5.715 | 5.715 |  |  |  | 6.2% | 72 | 11 | 11 | 0.02 | 4 | 639 | 1134 | 2025 | 8 | 40
EP | NI | GU_500283 | BGT1 | Ballylumford GT1 |  | Gasoil | 100% |  |  | Gasoil | 8 | 58 |  | 180 | 8 | 53 | 58 |  |  | 11.05 | 11.05 | 11.05 |  |  | 2% | 24 | 10 | 18 | 0.02 | 0.25 | 8 | 8 | 8
EP | NI | GU_500284 | BGT2 | Ballylumford GT2 |  | Gasoil | 100% |  |  | Gasoil | 8 | 58 |  | 180 | 8 | 53 | 58 |  |  | 11.05 | 11.05 | 11.05 |  |  | 2% | 24 | 10 | 18 | 0.02 | 0.25 | 8 | 8 | 8
ESB | NI | GU_500041 | CGT8 | Coolkeeragh OCGT |  | Gasoil | 100% |  |  | Gasoil | 8 | 53 |  | 180 | 53 |  |  |  |  | 11.05 |  |  |  |  | 2.4% | 176 | 50 | 50 | 0.5 | 0.5 | 8 | 8 | 8 | 0.5 | 0.5
Contour | NI | GU_500904 | Contour AGU | Contour Global Agg Unit |  | Gas | 100% |  |  | Gas | 6 | 12.084 |  | 15.408 | 9 | 12 |  |  |  | 7.632 | 8.316 |  |  |  | 6.2% | 48 | 4.032 | 4.032 | 0.5 | 0.5 | 0.616 | 0.616 | 0.616
ESB | NI | GU_500040 | CPS CCGT | Coolkeeragh CCGT |  | Gas | 100% |  |  | Gas | 260 | 404 |  | 633.8 | 260 | 328 | 372 | 404 |  | 4.384 | 5.341 | 5.573 | 5.603 |  | 6.2% | 176 | 15 | 15 | 4 | 4 | 1088 | 1088 | 1088 | 12 | 60
ESB | ROI | GU_400500 | DB1 | Dublin Bay CCGT |  | Gas | 100% |  |  | Gas | 130 | 415 |  | 666 | 130 | 415 |  |  |  | 4.053 | 6.05 |  |  |  | 6.2% | 167 | 10 | 4.48 | 4 | 1 | 2600 | 2600 | 2600 | 12 | 60
Covanta | ROI | GU_402030 | Dublin | Dublin |  | Gasoil | 100% |  |  | Waste | 21.4 | 68.2 | 67.6 | [11 empty] | 6.7% | 36 | 0.9 | 0.9 |  |  | 1279.3 | 1827.5 |  | 24 | >24
BnM | ROI | GU_401860 | ED1 | Edenderry |  | GasOil | 100% |  |  | Peat | 41 | 117.57 |  | 497.6 | 88 | 112 | 118 |  |  | 3.93 | 8.95 | 8.95 |  |  | 7.9% | 72 | 1.76 | 1.76 | 4 | 0.5 | 436 | 1084 | 2308 | 12 | 48
BnM | ROI | GU_401010 | ED3 | Cushaling |  | GasOil | 100% |  |  | GasOil | 20 | 58 |  | 85 | 58 |  |  |  |  | 9.5 |  |  |  |  | 2.4% | 24 | 5 | 5 |  | 0.5 | 22
BnM | ROI | GU_401011 | ED5 | Cushaling |  | GasOil | 100% |  |  | GasOil | 20 | 58 |  | 85 | 58 |  |  |  |  | 9.5 |  |  |  |  | 2.4% | 24 | 5 | 5 |  | 0.5 | 22
ESB | ROI | GU_400210 | ER1 | Erne 1 |  | Water | 100% |  |  | Water |  | 10 | [12 empty] | 4.5% | 86 | 5 | 10
ESB | ROI | GU_400211 | ER2 | Erne 2 |  | Water | 100% |  |  | Water |  | 10 | [12 empty] | 4.5% | 86 | 5 | 10
ESB | ROI | GU_400220 | ER3 | Erne 3 |  | Water | 100% |  |  | Water |  | 22.5 | [12 empty] | 4.5% | 83 | 10 | 22.5
ESB | ROI | GU_400221 | ER4 | Erne 4 |  | Water | 100% |  |  | Water |  | 22.5 | [12 empty] | 4.5% | 86 | 10 | 22.5
SSE | ROI | GU_400762 | GI CCGT | Great Island CCGT |  | Gas | 100% | 0 | 0 | Gas | 165 | 464 | 458.5 | 605 | 165 | 431 | 464 | 0 | 0 | 4.07 | 5.46 | 5.69 | 0 | 0 | 5% | 55 | 17.17 | 18.5 | 4 | 4 | 630 | 1700 | 2650 | 12 | 60
Energia Generation | ROI | GU_400540 | HN2 | Huntstown Phase II | 2019-10-01 | Gas | 100% |  |  | Gas | 121 | 404 | 391.88 | 603.6 | 121 | 150 | 170 | 230 | 412 | 4.1271 | 4.129 | 4.7549 | 5.4288 | 5.7167 | 6.2% | 55 | 20 | 20 | 4 | 4 | 318.454 | 531.129 | 644.171 | 12 | 60
Energia Generation | ROI | GU_400540 | HN2 | Huntstown Phase II | 2021-01-01 | Gas | 100% |  |  | Gas | 121 | 404 | 391.88 | 603.6 | 121 | 150 | 170 | 230 | 412 | 4.1271 | 4.129 | 4.7549 | 5.4288 | 5.7167 | 6.2% | 55 | 20 | 20 | 4 | 4 | 318.454 | 531.129 | 644.171 | 12 | 60
Energia Generation | ROI | GU_400540 | HN2 | Huntstown Phase II | 2021-10-01 | Gas | 100% |  |  | Gas | 121 | 404 | 391.88 | 603.6 | 121 | 150 | 170 | 230 | 412 | 4.1271 | 4.129 | 4.7549 | 5.4288 | 5.7167 | 6.2% | 55 | 20 | 20 | 4 | 4 | 318.454 | 531.129 | 644.171 | 12 | 60
Energia Generation | ROI | GU_400540 | HN2 | Huntstown Phase II | 2022-10-01 | Gas | 100% |  |  | Gas | 121 | 404 | 391.88 | 603.6 | 121 | 150 | 170 | 230 | 412 | 4.1271 | 4.129 | 4.7549 | 5.4288 | 5.7167 | 6.2% | 55 | 20 | 20 | 4 | 4 | 318.454 | 531.129 | 644.171 | 12 | 60
Energia Generation | ROI | GU_400540 | HN2 | Huntstown Phase II | 2023-10-01 | Gas | 100% |  |  | Gas | 121 | 404 | 391.88 | 603.6 | 121 | 150 | 170 | 230 | 412 | 4.1271 | 4.129 | 4.7549 | 5.4288 | 5.7167 | 6.2% | 55 | 20 | 20 | 4 | 4 | 318.454 | 531.129 | 644.171 | 12 | 60
Energia Generation | ROI | GU_400540 | HN2 | Huntstown Phase II | 2024-05-01 | Gas | 100% |  |  | Gas | 121 | 404 | 391.88 | 603.6 | 121 | 150 | 170 | 230 | 412 | 4.1271 | 4.129 | 4.7549 | 5.4288 | 5.7167 | 6.2% | 55 | 20 | 20 | 4 | 4 | 318.454 | 531.129 | 644.171 | 12 | 60
Energia Generation | ROI | GU_400480 | HNC | Huntstown | 2019-10-01 | Gas | 100% |  |  | Gas | 120 | 343 | 332.71 | 541.204 | 120 | 171 | 230 | 250 | 352 | 4.528 | 4.53 | 5.237 | 5.247 | 6.039 | 6.2% | 55 | 7 | 7 | 4 | 4 | 834.687 | 2803.196 | 4771.682 | 12 | 60
Energia Generation | ROI | GU_400480 | HNC | Huntstown | 2019-09-01 | Gas | 100% |  |  | Gas | 120 | 343 | 332.71 | 541.204 | 120 | 171 | 230 | 250 | 352 | 4.528 | 4.53 | 5.237 | 5.247 | 6.039 | 6.2% | 55 | 7 | 7 | 4 | 4 | 834.687 | 2803.196 | 4771.682 | 12 | 60
iPower | NI | GU_501130 | iPower AGU | iPower AGU |  | Gasoil | 100% |  |  | Gasoil |  | 64 |  | 42.943 |  | 64 |  |  |  | 10.7266 | 10.7266 |  |  |  | 2.4% | 48 | 8 | 8 | 0.5 | 0.5 | 32.1799
Indaver | ROI | GU_401230 | IW1 | Indaver Energy Limited | [5 empty] | Waste | 1 | 17 | [12 empty] | 6.6% | 2.2 | 0.36 | 0.65
EP | NI | GU_500822 | K1 Coal 220 | Kilroot Unit 1 FGD |  | Oil | 80% | Coal | 20% | Coal | 93 | 255.26 |  | 393.61 | 93 | 174.8 | 255.26 |  |  | 9.4 | 9.4 | 71.5 |  |  | 6% | 72 | 5.79 | 5.79 | 4 | 0.5 | 1984 | 4281 | 5054 | 7.5 | 52.5
EP | NI | GU_500823 | K2 Coal 220 | Kilroot Unit 2 FGD |  | Oil | 80% | Coal | 20% | Coal | 93 | 257.92 |  | 393.61 | 93 | 174.8 | 257.92 |  |  | 9.4 | 9.4 | 69.49 |  |  | 6% | 72 | 5.79 | 5.79 | 4 | 0.5 | 1984 | 4281 | 5054 | 7.5 | 52.5
EP | NI | GU_500824 | KGT1 | Kilroot GT1 |  | Gasoil | 100% |  |  | Gasoil | 5 | 29 |  | 103 | 5 | 23.6 | 29.2 |  |  | 11.05 | 11.05 | 11.05 |  |  | 2% | 24 | 6 | 6 | 0.02 | 0.25 | 8 | 8 | 8
EP | NI | GU_500825 | KGT2 | Kilroot GT2 |  | Gasoil | 100% |  |  | Gasoil | 5 | 29 |  | 103 | 5 | 23.6 | 29.2 |  |  | 11.05 | 11.05 | 11.05 |  |  | 2% | 24 | 6 | 6 | 0.02 | 0.25 | 8 | 8 | 8
EP | NI | GU_500820 | KGT3 | Kilroot GT3 |  | Gasoil | 100% |  |  | Gasoil | 12.82 | 42 |  | 115.39 | 12.82 | 41.61 |  |  |  | 9.2356 | 9.2356 |  |  |  | 2% | 24 | 10 | 10 | 0.62 | 0.38 | 9.55 | 9.55 | 9.55
EP | NI | GU_500821 | KGT4 | Kilroot GT4 |  | Gasoil | 100% |  |  | Gasoil | 12.82 | 42 |  | 115.39 | 12.82 | 41.61 |  |  |  | 9.2356 | 9.2356 |  |  |  | 2% | 24 | 10 | 10 | 0.62 | 0.38 | 9.55 | 9.55 | 9.55
ESB | ROI | GU_400280 | LE1 | Lee 1 |  | Water | 100% |  |  | Water |  | 15 | [12 empty] | 4.5% | 123 | 2.4 | 15
ESB | ROI | GU_400281 | LE2 | Lee 2 |  | Water | 100% |  |  | Water |  | 4 | [12 empty] | 4.5% | 123 | 0.6 | 4
ESB | ROI | GU_400290 | LE3 | Lee 3 |  | Water | 100% |  |  | Water |  | 8 | [12 empty] | 4.5% | 83 | 1.5 | 8
ESB | ROI | GU_400250 | LI1 | Liffey 1 |  | Water | 100% |  |  | Water |  | 15 | [12 empty] | 4.5% | 130 | 5 | 10
ESB | ROI | GU_400251 | LI2 | Liffey 2 |  | Water | 100% |  |  | Water |  | 15 | [12 empty] | 4.5% | 130 | 5 | 10
ESB | ROI | GU_400252 | LI4 | Liffey 4 |  | Water | 100% |  |  | Water |  | 4 | [12 empty] | 4.5% | 90 | 2 | 2
ESB | ROI | GU_400260 | LI5 | Liffey 5 |  | Water | 100% |  |  | Water |  | 4 | [12 empty] | 4.5% | 130 | 0.03 | 0.1
Evermore Energy | NI | GU_501350 | Lisahally | Lisahally / Maydown |  | LSFO | 100% |  |  | Waste wood | 12.74 | 17.6 |  | 40 | 17.6 |  |  |  |  | 9 | [6 empty] | 0.04 | 0.04 | 4 | 0.5 | 2000 | 4000 | 6000 | 2 | 4
ESB | ROI | GU_400240 | LR4 | Lough Ree |  | Peat | 100% |  |  | Peat | 32 | 93 |  | 86.8 | 91 | 93 |  |  |  | 8.811 | 8.811 |  |  |  | 7.9% | 339 | 0.44 | 0.44 | 1 | 4 | 300 | 300 | 300 | 12 | 48
ESB | ROI | GU_400270 | MP1 | Moneypoint 1 |  | Coal | 68% | Oil | 32% | Coal | 75 | 285 |  | 215.4 | 75 | 140 | 195 | 280 | 285 | 8.906 | 8.99 | 9.192 | 9.242 | 13.696 | 9.1% | 284 | 1.63 | 1.33 | 6 | 5 | 4360 | 4360 | 4360 | 12 | 60
ESB | ROI | GU_400271 | MP2 | Moneypoint 2 |  | Coal | 68% | Oil | 32% | Coal | 99 | 285 |  | 215.4 | 99 | 140 | 195 | 280 | 285 | 8.937 | 8.966 | 9.192 | 9.242 | 13.696 | 9.1% | 283 | 1.63 | 1.33 | 6 | 5 | 4360 | 4360 | 4360 | 12 | 60
ESB | ROI | GU_400272 | MP3 | Moneypoint 3 |  | Coal | 68% | Oil | 32% | Coal | 75 | 285 |  | 215.4 | 75 | 140 | 195 | 280 | 285 | 8.906 | 8.99 | 9.192 | 9.242 | 13.696 | 9.1% | 284 | 1.63 | 1.33 | 6 | 5 | 4360 | 4360 | 4360 | 12 | 60
ESB | ROI | GU_403680 | n_CDF |  | 2022-10-01 | Gas | 100% |  |  | Gas | 27.5 | 70 |  |  | 27.5 | 70 |  |  |  | 8.78 |  |  |  |  | 6.2% | [5 empty] | 50 | 50 | 50
ESB | ROI | GU_403650 | n_NW4 | northwall 4 GT | 2022-10-01 | Gas | 100% |  |  | Gas | 42 | 118 |  | 300 | 42 | 118 |  |  |  | 9.47 |  |  |  |  | 6.2% |  | 30 | 30 | 1 | 1 | 100 | 100 | 100 | 4 | 12
ESB | ROI | GU_400311 | n_NW5 | North Wall 5 refurb | 2022-10-01 | Gas | 100% |  |  | Gas | 42 | 118 |  | 300 | 42 | 118 |  |  |  | 9.47 |  |  |  |  | 6.2% |  | 30 | 30 | 1 | 1 | 100 | 100 | 100 | 4 | 12
ESB | ROI | GU_403620 | n_PB |  | 2022-10-01 | Gas | 100% |  |  | Gas | 27.5 | 70 |  |  | 27.5 | 70 |  |  |  | 8.78 |  |  |  |  | 6.2% | [5 empty] | 50 | 50 | 50
ESB | ROI | GU_403610 | n_RNS |  | 2022-10-01 | Gas | 100% |  |  | Gas | 27.5 | 70 |  |  | 27.5 | 70 |  |  |  | 8.78 |  |  |  |  | 6.2% | [5 empty] | 50 | 50 | 50
ESB | ROI | GU_400311 | NW5 | North Wall 5 |  | Gas | 100% |  |  | Gas | 19 | 109 |  | 318.8 | 50 | 109 |  |  |  | 8.627 | 9.272 |  |  |  | 6.2% | 328 | 8 | 5.82 | 1 | 1 | 50 | 50 | 50 | 12 | 48
ESB | ROI | GU_400324 | PBA | Poolbeg C_A |  | Gas | 100% |  |  | Gas | 120 | 255 |  | 352.9 | 145 | 240 | 255 |  |  | 5.435 | 6.057 | 7.007 |  |  | 6.2% | 154 | 5 | 5 | 1 | 1 | 750 | 750 | 750 | 12 | 48
ESB | ROI | GU_400325 | PBB | Poolbeg C_B |  | Gas | 100% |  |  | Gas | 120 | 255 |  | 352.9 | 145 | 240 | 255 |  |  | 5.435 | 6.057 | 7.007 |  |  | 6.2% | 154 | 5 | 5 | 1 | 1 | 750 | 750 | 750 | 12 | 48
SSE | ROI | GU_400770 | RH1 | Rhode 1 |  | Gasoil | 100% | 0 | 0 | Gasoil | 5 | 52 | 0 | 85.01 | 12 | 52 | 0 | 0 | 0 | 9.8226 | 9.8226 | 0 | 0 | 0 | 2.4% | 50 | 10 | 10 | 0 | 0.75 | 24 | 0 | 0 | 0 | 0
SSE | ROI | GU_400771 | RH2 | Rhode 2 |  | Gasoil | 100% | 0 | 0 | Gasoil | 5 | 52 | 0 | 85.01 | 12 | 52 | 0 | 0 | 0 | 9.8226 | 9.8226 | 0 | 0 | 0 | 2.4% | 50 | 10 | 10 | 0 | 0.75 | 24 | 0 | 0 | 0 | 0
Aughinish | ROI | GU_400120 | SK3 | Sealrock 3 (Aughinish CHP) |  | Gas | 100% |  |  | Gas | 40 | 83 |  | 100 | 40 | 83 |  |  |  | 5 | 5 |  |  |  | 1% | 44 | 6 | 6 | 4 | 4 | 800 | 1000 | 1200 | 12 | 48
Aughinish | ROI | GU_400121 | SK4 | Sealrock 4 (Aughinish CHP) |  | Gas | 100% |  |  | Gas | 40 | 83 |  | 100 | 40 | 83 |  |  |  | 5 | 5 |  |  |  | 1% | 44 | 6 | 6 | 4 | 4 | 800 | 1000 | 1200 | 12 | 48
SSE | ROI | GU_400750 | TB1 | Tarbert Unit 1 |  | Oil | 61% | Gasoil | 39% | Oil | 18 | 54 | 0 | 44.66 | 20 | 46 | 54 | 0 | 0 | 11.63 | 11.63 | 11.75 | 0 | 0 | 2% | 50 | 1 | 1 | 2 | 2 | 217.5 | 449 | 562 | 12 | 48
SSE | ROI | GU_400751 | TB2 | Tarbert Unit 2 |  | Oil | 61% | Gasoil | 39% | Oil | 18 | 54 | 0 | 44.66 | 20 | 46 | 54 | 0 | 0 | 11.63 | 11.63 | 11.75 | 0 | 0 | 2% | 50 | 1 | 1 | 2 | 2 | 217.5 | 449 | 562 | 12 | 48
SSE | ROI | GU_400752 | TB3 | Tarbert Unit 3 |  | Oil | 70% | Gasoil | 30% | Oil | 34.85 | 243 | 0 | 247.61 | 34.85 | 100 | 180 | 240 | 0 | 8.0698 | 8.0698 | 9.063 | 9.153 | 0 | 2% | 50 | 2 | 2.2 | 4 | 4 | 1072 | 1934 | 3180 | 14 | 106
SSE | ROI | GU_400753 | TB4 | Tarbert Unit 4 |  | Oil | 70% | Gasoil | 30% | Oil | 34.85 | 243 | 0 | 247.61 | 34.85 | 100 | 180 | 240 | 0 | 8.4 | 8.4 | 9.428 | 9.64 | 0 | 2% | 50 | 2 | 2.2 | 4 | 4 | 1072 | 1934 | 3180 | 14 | 106
ESB | ROI | GU_400360 | TH1 | Turlough Hill 1 |  | Water | 100% |  |  | Water |  | 73 | [12 empty] | 6% | 123
ESB | ROI | GU_400361 | TH2 | Turlough Hill 2 |  | Water | 100% |  |  | Water |  | 73 | [12 empty] | 6% | 123
ESB | ROI | GU_400362 | TH3 | Turlough Hill 3 |  | Water | 100% |  |  | Water |  | 73 | [12 empty] | 6% | 123
ESB | ROI | GU_400363 | TH4 | Turlough Hill 4 |  | Water | 100% |  |  | Water |  | 73 | [12 empty] | 6% | 123
SSE | ROI | GU_400780 | TP1 | Tawnaghmore 1 |  | Gasoil | 100% | 0 | 0 | Gasoil | 5 | 52 | 0 | 86.62 | 12 | 52 | 0 | 0 | 0 | 9.5867 | 9.5867 | 0 | 0 | 0 | 2.4% | 123 | 10 | 10 | 0 | 0.75 | 24 | 0 | 0 | 0 | 0
SSE | ROI | GU_400781 | TP3 | Tawnaghmore 3 |  | Gasoil | 100% | 0 | 0 | Gasoil | 5 | 52 | 0 | 86.62 | 12 | 52 | 0 | 0 | 0 | 9.5867 | 9.5867 | 0 | 0 | 0 | 2.4% | 50 | 10 | 10 | 0 | 0.75 | 24 | 0 | 0 | 0 | 0
Tynagh Energy Limited | ROI | GU_400530 | TY | Tynagh |  | Gas | 100% |  |  | Gas | 194 | 404 |  | 594 | 194 | 200 | 280 | 320 | 404 | 4.7297 | 5.0739 | 5.1158 | 5.5018 | 5.9738 | 6.2% | 64.5 | 15 | 12.5 | 4 | 4 | 1200 | 2000 | 3000 | 12 | 48
BGE | ROI | GU_400930 | WG | Whitegate |  | Gas | 100% |  |  | Gas | 160 | 445 | 432 | 666.7 | 185 | 399 | 460 |  |  | 3.91 | 5.265 | 5.265 |  |  | 6.2% | 32.1 | 20.6 | 26.8 | 4 | 4 | 222.6 | 329.9 | 437.1 | 12 | 60
ESB | ROI | GU_400370 | WO4 | West Offaly |  | Peat | 100% |  |  | Peat | 48 | 140 |  | 120.5 | 137 | 140 |  |  |  | 8.659 | 8.659 |  |  |  | 7.9% | 339 | 0.7 | 0.7 | 1 | 4 | 450 | 450 | 450 | 12 | 60
ESB | ROI | GU_403560 |  |  | 2022-10-01 |  | 100% |  |  |  |  | 19
ESB | ROI | GU_403600 |  |  | 2022-10-01 |  | 100% |  |  |  |  | 30
ESB | ROI | GU_403630 |  |  | 2022-10-01 |  | 100% |  |  |  |  | 75
ESB | ROI | GU_403660 |  |  | 2022-10-01 |  | 100% |  |  |  |  | 30