## Input to Adcal
SOD for 2010 - Input for Adcal
Coal | Unit ID Code | SODs in weeks (for Adcal)
Kilroot Unit 1 | Kilroot ST 1 | 2
Kilroot Unit 2 | Kilroot ST 2 | 1
Moneypoint Unit 1 | MP1 | 3
Moneypoint Unit 2 | MP2 | 2
Moneypoint Unit 3 | MP3 | 3
Distillate | Unit ID Code | SODs in weeks (for Adcal)
Aghada CT Unit 1 | AT11 | 2
Aghada CT Unit 2 | AT12 | 5
Ballylumford GT1 | Ballylumford GT 7 | 3
Ballylumford GT2 | Ballylumford GT 8 | 3
Coolkeeragh GT8 | Coolkeeragh GT8 | 6
Kilroot GT1 | Kilroot GT 1 | 1
Kilroot GT2 | Kilroot GT 2 | 0
Northwall Unit 5 | NW5 | 5
RHODE PEAKER | RP1 | 1
RHODE PEAKER | RP2 | 1
TAWNAGHAMORE | TP1 | 1
TAWNAGHAMORE | TP3 | 2
Kilroot OCGT1 | 2009-04-01 | 3
Kilroot OCGT2 | 2009-04-01 | 3
Gas | Unit ID Code | SODs in weeks (for Adcal)
Aghada Unit 1 | AD1 | 2
Aghada CT Unit 4 | AT14 | 7
Ballylumford Unit 10 | Ballylumford CCGT 10 | 6
Ballylumford Unit 31 | U31 | 1
Ballylumford Unit 32 | U32 | 2
Ballylumford Unit 4 | Ballylumford ST 4* | 3
Ballylumford Unit 5 | Ballylumford ST 5* | 4
Ballylumford Unit 6 | Ballylumford ST 6* | 1
Coolkeeragh CCGT | Coolkeeragh CCGT | 4
Dublin Bay Power | DB1 | 2
Huntstown | HN1 | 3
Huntstown 2 | HN2 | 2
Marina CC * | MRC | 2
Northwall Unit 4 | NWC | 3
Poolbeg Unit 1 | PB1 | 0
Poolbeg Unit 2 | PB2 | 0
Poolbeg Combined Cycle | PBC | 5
SEALROCK | SK3 | 7
SEALROCK | SK4 | 3
TYNAGH | TYC | 3
Aghada CCGT | 2009-11-01 | 3
Whitegate CCGT | 2010-07-01 | 3
Hydro | Unit ID Code | SODs in weeks (for Adcal)
ARDNACRUSHA | AA1 | 4
ARDNACRUSHA | AA2 | 2
ARDNACRUSHA | AA3 | 2
ARDNACRUSHA | AA4 | 2
ERNE | ER1 | 2
ERNE | ER2 | 2
ERNE | ER3 | 2
ERNE | ER4 | 2
LEE | LE1 | 2
LEE | LE2 | 2
LEE | LE3 | 2
LIFFEY | LI1 | 2
LIFFEY | LI2 | 1
LIFFEY | LI4 | 1
LIFFEY | LI5 | 1
TURLOUGH HILL | TH1 | 5
TURLOUGH HILL | TH2 | 7
TURLOUGH HILL | TH3 | 3
TURLOUGH HILL | TH4 | 3
Oil | Unit ID Code | SODs in weeks (for Adcal)
GREAT ISLAND | GI1 | 1
GREAT ISLAND | GI2 | 4
GREAT ISLAND | GI3 | 4
TARBERT | TB1 | 5
TARBERT | TB2 | 6
TARBERT | TB3 | 6
TARBERT | TB4 | 4
Peat | Unit ID Code | SODs in weeks (for Adcal)
EDENDERRY | ED1 | 6
LOUGH REE | LR4 | 4
WEST OFFALY | WO4 | 5
Interconnector | Unit ID Code | SODs in weeks (for Adcal)
MOYLE |  | 0

## Weekly Derivation
Unit Name | Unit ID Code | Coal | Full Weeks of SOD | Remaining Days of SOD | Round to nearest Week (Manual) | Total SODs in weeks | Comments
Kilroot Unit 1 | Kilroot ST 1 | 12.6326 | 1 | 5.6326 | 1 | 2
Kilroot Unit 2 | Kilroot ST 2 | 10.3759 | 1 | 3.3759 | 0 | 1
Moneypoint Unit 1 | MP1 | 21.231 | 3 | 0.231 | 0 | 3
Moneypoint Unit 2 | MP2 | 14.5093 | 2 | 0.50932 | 0 | 2
Moneypoint Unit 3 | MP3 | 17.69 | 2 | 3.69 | 1 | 3
Summary for Fuel Type | Total Days | 76.4388
| Total Weeks for SOD | 11
| Full Weeks of SOD | 9
| Round to nearest Week (Manual) | 2
| Check (should be zero) | 0
Unit Name | Unit ID Code | Distillate | Full Weeks of SOD | Remaining Days of SOD | Round to nearest Week (Manual) | Total SODs in weeks | Comments
Aghada CT Unit 1 | AT11 | 15.7178 | 2 | 1.7178 | 0 | 2
Aghada CT Unit 2 | AT12 | 35.0074 | 5 | 0.0074363 | 0 | 5
Ballylumford GT1 | Ballylumford GT 7 | 19.1233 | 2 | 5.1233 | 1 | 3
Ballylumford GT2 | Ballylumford GT 8 | 20.5378 | 2 | 6.5378 | 1 | 3
Coolkeeragh GT8 | Coolkeeragh GT8 | 43.1406 | 6 | 1.1406 | 0 | 6
Kilroot GT1 | Kilroot GT 1 | 7.611 | 1 | 0.61101 | 0 | 1
Kilroot GT2 | Kilroot GT 2 | 3.5233 | 0 | 3.5233 | 0 | 0
Northwall Unit 5 | NW5 | 31.5766 | 4 | 3.5766 | 1 | 5
RHODE PEAKER | RP1 | 5.545 | 0 | 5.545 | 1 | 1
RHODE PEAKER | RP2 | 6.0025 | 0 | 6.0025 | 1 | 1
TAWNAGHAMORE | TP1 | 8.0134 | 1 | 1.0134 | 0 | 1
TAWNAGHAMORE | TP3 | 17.0125 | 2 | 3.0125 | 0 | 2
Kilroot OCGT1 |  | 17.7343 | 2 | 3.7343 | 1 | 3 | kept at 3 weeks due to unknown impact of second hand units
Kilroot OCGT2 |  | 17.7343 | 2 | 3.7343 | 1 | 3 | kept at 3 weeks due to unknown impact of second hand units
Summary for Fuel Type | Total Days | 248.2799
| Total Weeks for SOD | 35
| Full Weeks of SOD | 29
| Round to nearest Week (Manual) | 7
| Check (should be zero) | -1 | See Note re new units
Unit Name | Unit ID Code | Gas | Full Weeks of SOD | Remaining Days of SOD | Round to nearest Week (Manual) | Total SODs in weeks | Comments
Aghada Unit 1 | AD1 | 17.0125 | 2 | 3.0125 | 0 | 2
Aghada CT Unit 4 | AT14 | 52.2518 | 7 | 3.2518 | 0 | 7
Ballylumford Unit 10 | Ballylumford CCGT 10 | 44.0155 | 6 | 2.0155 | 0 | 6
Ballylumford Unit 31 | U31 | 8.4906 | 1 | 1.4906 | 0 | 1 | See 'B'lumford & Poolbeg' for details
Ballylumford Unit 32 | U32 | 15.3476 | 2 | 1.3476 | 0 | 2 | See 'B'lumford & Poolbeg' for details
Ballylumford Unit 4 | Ballylumford ST 4* | 19.5188 | 2 | 5.5188 | 1 | 3
Ballylumford Unit 5 | Ballylumford ST 5* | 26.0898 | 3 | 5.0898 | 1 | 4
Ballylumford Unit 6 | Ballylumford ST 6* | 9.855 | 1 | 2.855 | 0 | 1
Coolkeeragh CCGT | Coolkeeragh CCGT | 27.3545 | 3 | 6.3545 | 1 | 4
Dublin Bay Power | DB1 | 14.6695 | 2 | 0.66953 | 0 | 2
Huntstown | HN1 | 19.8349 | 2 | 5.8349 | 1 | 3
Huntstown 2 | HN2 | 16.5347 | 2 | 2.5347 | 0 | 2
Marina CC * | MRC | 17.0626 | 2 | 3.0626 | 0 | 2
Northwall Unit 4 | NWC | 22.219 | 3 | 1.219 | 0 | 3
Poolbeg Unit 1 | PB1 | 0 | 0 | 0 | 0 | 0 | Due for Decommissionin at end of Q1/10 - set SOD to zero
Poolbeg Unit 2 | PB2 | 0 | 0 | 0 | 0 | 0 | Due for Decommissionin at end of Q1/10 - set SOD to zero
Poolbeg Combined Cycle | PBC | 32.5875 | 4 | 4.5875 | 1 | 5 | See 'B'lumford & Poolbeg' for details
SEALROCK | SK3 | 46.6817 | 6 | 4.6817 | 1 | 7
SEALROCK | SK4 | 18.3355 | 2 | 4.3355 | 1 | 3
TYNAGH | TYC | 18.2364 | 2 | 4.2364 | 1 | 3
Aghada CCGT |  | 19.132 | 2 | 5.132 | 1 | 3
Whitegate CCGT |  | 19.132 | 2 | 5.132 | 1 | 3
Summary for Fuel Type | Total Days | 464.362
| Total Weeks for SOD | 66
| Full Weeks of SOD | 56
| Round to nearest Week (Manual) | 10
| Check (should be zero) | 0
Unit Name | Unit ID Code | Hydro | Full Weeks of SOD | Remaining Days of SOD | Round to nearest Week (Manual) | Total SODs in weeks | Comments
ARDNACRUSHA | AA1 | 23.9209 | 3 | 2.9209 | 1 | 4
ARDNACRUSHA | AA2 | 12.8307 | 1 | 5.8307 | 1 | 2
ARDNACRUSHA | AA3 | 9.8525 | 1 | 2.8525 | 1 | 2
ARDNACRUSHA | AA4 | 12.8948 | 1 | 5.8948 | 1 | 2
ERNE | ER1 | 12.3275 | 1 | 5.3275 | 1 | 2
ERNE | ER2 | 16.1693 | 2 | 2.1693 | 0 | 2
ERNE | ER3 | 15.7017 | 2 | 1.7017 | 0 | 2
ERNE | ER4 | 12.3839 | 1 | 5.3839 | 1 | 2
LEE | LE1 | 15.5654 | 2 | 1.5654 | 0 | 2
LEE | LE2 | 16.0398 | 2 | 2.0398 | 0 | 2
LEE | LE3 | 15.675 | 2 | 1.675 | 0 | 2
LIFFEY | LI1 | 16.3134 | 2 | 2.3134 | 0 | 2
LIFFEY | LI2 | 8.9861 | 1 | 1.9861 | 0 | 1
LIFFEY | LI4 | 9.5837 | 1 | 2.5837 | 0 | 1
LIFFEY | LI5 | 8.7272 | 1 | 1.7272 | 0 | 1
TURLOUGH HILL | TH1 | 35.4922 | 5 | 0.49222 | 0 | 5
TURLOUGH HILL | TH2 | 49.8021 | 7 | 0.80214 | 0 | 7
TURLOUGH HILL | TH3 | 18.0627 | 2 | 4.0627 | 1 | 3
TURLOUGH HILL | TH4 | 18.4468 | 2 | 4.4468 | 1 | 3
Summary for Fuel Type | Total Days | 328.7757
| Total Weeks for SOD | 47
| Full Weeks of SOD | 39
| Round to nearest Week (Manual) | 8
| Check (should be zero) | 0
Unit Name | Unit ID Code | Oil | Full Weeks of SOD | Remaining Days of SOD | Round to nearest Week (Manual) | Total SODs in weeks | Comments
GREAT ISLAND | GI1 | 7.6953 | 1 | 0.69531 | 0 | 1
GREAT ISLAND | GI2 | 29.1358 | 4 | 1.1358 | 0 | 4
GREAT ISLAND | GI3 | 28.5041 | 4 | 0.50407 | 0 | 4
TARBERT | TB1 | 38.8657 | 5 | 3.8657 | 0 | 5
TARBERT | TB2 | 39.7739 | 5 | 4.7739 | 1 | 6
TARBERT | TB3 | 41.9562 | 5 | 6.9562 | 1 | 6
TARBERT | TB4 | 26.4602 | 3 | 5.4602 | 1 | 4
Summary for Fuel Type | Total Days | 212.3912
| Total Weeks for SOD | 30
| Full Weeks of SOD | 27
| Round to nearest Week (Manual) | 3
| Check (should be zero) | 0
Unit Name | Unit ID Code | Peat | Full Weeks of SOD | Remaining Days of SOD | Round to nearest Week (Manual) | Total SODs in weeks | Comments
EDENDERRY | ED1 | 42.6267 | 6 | 0.62669 | 0 | 6
LOUGH REE | LR4 | 31.1912 | 4 | 3.1912 | 0 | 4
WEST OFFALY | WO4 | 34.6175 | 4 | 6.6175 | 1 | 5
Summary for Fuel Type | Total Days | 108.4354
| Total Weeks for SOD | 15 |  |  | 0
| Full Weeks of SOD | 14
| Round to nearest Week (Manual) | 1
| Check (should be zero) | 0
Unit Name | Unit ID Code | Interconnector | Full Weeks of SOD | Remaining Days of SOD | Round to nearest Week (Manual) | Total SODs in weeks | Comments
MOYLE |  | 1.1133 | 0 | 1.1133 | 0 | 0
Summary for Fuel Type | Total Days | 0
| Total Weeks for SOD | 0 |  |  | 0
| Full Weeks of SOD | 0
| Round to nearest Week (Manual) | 0
| Check (should be zero) | 0
Note on D29: Average based on all Distillate plant and these are second hand units
Note on D30: Average based on all Distillate plant and these are second hand units
Note on D54: Due for Decommissionin at end of Q1/10 - set SOD to zero
Note on D55: Due for Decommissionin at end of Q1/10 - set SOD to zero
Note on D60: Average based on CCGT Plant
Note on D61: Average based on CCGT Plant

## Data Analysis
Name of plant | Plant Type | 2003 (Not Used) | 2004 | 2005 | 2006 | 2007 | 2008 | 5 Year Average | Outage Days | Adjusted for FGD (coal only) | Final Figure to be used in Weekly Calculation
[12 empty] | FGD Frequency | 25 | Assumes FGD will last for 25 years.
Kilroot ST 1 | Coal | 0.38 | [5 empty] | 6.924 | 25.2726 | 12.6326 | 12.6326
Kilroot ST 2 | Coal | 10.14 | [5 empty] | 7.6646 | 27.9759 | 10.3759 | 10.3759
MP1 | Coal | 0.93135 | [5 empty] | 11.534 | 42.0992 | 21.231 | 21.231
MP2 | Coal | 10.0415 | [5 empty] | 8.5973 | 31.3802 | 14.5093 | 14.5093
MP3 | Coal | 8.5654 | [5 empty] | 11.1286 | 40.6195 | 17.69 | 17.69
AT11 | Distillate | 1.331 | [5 empty] | 4.3063 | 15.7178 |  | 15.7178
AT12 | Distillate | 7.509 | [5 empty] | 9.5911 | 35.0074 |  | 35.0074
Ballylumford GT 7 | Distillate | 3.55 | [5 empty] | 5.2392 | 19.1233 |  | 19.1233
Ballylumford GT 8 | Distillate | 2.98 | [5 empty] | 5.6268 | 20.5378 |  | 20.5378
Coolkeeragh GT8 | Distillate | 7.85 | [5 empty] | 11.8193 | 43.1406 |  | 43.1406
Kilroot GT 1 | Distillate | 0.04 | [5 empty] | 2.0852 | 7.611 |  | 7.611
Kilroot GT 2 | Distillate | 4.2 | [5 empty] | 0.96529 | 3.5233 |  | 3.5233
NW5 | Distillate | 2.1046 | [5 empty] | 8.6511 | 31.5766 |  | 31.5766
RP1 | Distillate | 0 | [5 empty] | 1.5192 | 5.545 |  | 5.545
RP2 | Distillate | 0 | [5 empty] | 1.6445 | 6.0025 |  | 6.0025
TP1 | Distillate | 0 | [5 empty] | 2.1955 | 8.0134 |  | 8.0134
TP3 | Distillate | [6 empty] | 4.661 | 17.0125 |  | 17.0125
AD1 | Gas | 23.6969 | [5 empty] | 14.3156 | 52.2518 |  | 52.2518
AT14 | Gas | 0 | [5 empty] | 12.059 | 44.0155 |  | 44.0155
Ballylumford CCGT 10 | Gas | 0 | [5 empty] | 7.6845 | 28.0485 |  | 28.0485
Ballylumford CCGT 20 | Gas | 0 | [5 empty] | 2.114 | 7.7161 |  | 7.7161
Ballylumford CCGT 21 | Gas | 1.24 | [5 empty] | 2.4422 | 8.9139 |  | 8.9139
Ballylumford CCGT 22 | Gas | 2.49 | [5 empty] | 5.3476 | 19.5188 |  | 19.5188
Ballylumford ST 4* | Gas | 1.19 | [5 empty] | 7.1479 | 26.0898 |  | 26.0898
Ballylumford ST 5* | Gas | 1.19 | [5 empty] | 2.7 | 9.855 |  | 9.855
Ballylumford ST 6* | Gas | 1.19 | [5 empty] | 7.4944 | 27.3545 |  | 27.3545
Coolkeeragh CCGT | Gas | [6 empty] | 4.019 | 14.6695 |  | 14.6695
DB1 | Gas | 19.2852 | [5 empty] | 5.4342 | 19.8349 |  | 19.8349
HN1 | Gas | 4.8077 | [5 empty] | 4.5301 | 16.5347 |  | 16.5347
HN2 | Gas | [6 empty] | 4.6747 | 17.0626 |  | 17.0626
MRC | Gas | 0.305 | [5 empty] | 6.0874 | 22.219 |  | 22.219
NWC | Gas | 5.2685 | [5 empty] | 11.4579 | 41.8214 |  | 41.8214
PB1 | Gas | 2.795 | [5 empty] | 10.7718 | 39.3169 |  | 39.3169
PB14 | Gas | 0.81462 | [5 empty] | 5.8486 | 21.3474 |  | 21.3474
PB15 | Gas | 3.0317 | [5 empty] | 5.9116 | 21.5772 |  | 21.5772
PB16 | Gas | 2.0819 | [5 empty] | 9.144 | 33.3757 |  | 33.3757
PB2 | Gas | 4.1273 | [5 empty] | 12.7895 | 46.6817 |  | 46.6817
SK3 | Gas | [6 empty] | 5.0234 | 18.3355 |  | 18.3355
SK4 | Gas | [6 empty] | 4.9963 | 18.2364 |  | 18.2364
TYC | Gas | [6 empty] | 6.5537 | 23.9209 |  | 23.9209
AA1 | Hydro | [6 empty] | 3.5153 | 12.8307 |  | 12.8307
AA2 | Hydro | [6 empty] | 2.6993 | 9.8525 |  | 9.8525
AA3 | Hydro | [6 empty] | 3.5328 | 12.8948 |  | 12.8948
AA4 | Hydro | [6 empty] | 3.3774 | 12.3275 |  | 12.3275
ER1 | Hydro | [6 empty] | 4.4299 | 16.1693 |  | 16.1693
ER2 | Hydro | [6 empty] | 4.3018 | 15.7017 |  | 15.7017
ER3 | Hydro | [6 empty] | 3.3928 | 12.3839 |  | 12.3839
ER4 | Hydro | [6 empty] | 4.2645 | 15.5654 |  | 15.5654
LE1 | Hydro | [6 empty] | 4.3945 | 16.0398 |  | 16.0398
LE2 | Hydro | [6 empty] | 4.2945 | 15.675 |  | 15.675
LE3 | Hydro | [6 empty] | 4.4694 | 16.3134 |  | 16.3134
LI1 | Hydro | [6 empty] | 2.4619 | 8.9861 |  | 8.9861
LI2 | Hydro | [6 empty] | 2.6257 | 9.5837 |  | 9.5837
LI4 | Hydro | [6 empty] | 2.391 | 8.7272 |  | 8.7272
LI5 | Hydro | [6 empty] | 2.1083 | 7.6953 |  | 7.6953
GI1 | Oil | 4.9365 | [5 empty] | 7.9824 | 29.1358 |  | 29.1358
GI2 | Oil | 8.5648 | [5 empty] | 7.8093 | 28.5041 |  | 28.5041
GI3 | Oil | 6.186 | [5 empty] | 10.6481 | 38.8657 |  | 38.8657
TB1 | Oil | 2.1237 | [5 empty] | 10.897 | 39.7739 |  | 39.7739
TB2 | Oil | 8.5287 | [5 empty] | 11.4948 | 41.9562 |  | 41.9562
TB3 | Oil | 32.3979 | [5 empty] | 7.2494 | 26.4602 |  | 26.4602
TB4 | Oil | 1.15 | [5 empty] | 11.6785 | 42.6267 |  | 42.6267
ED1 | Peat | 8.5217 | [5 empty] | 8.5455 | 31.1912 |  | 31.1912
LRP | Peat | [6 empty] | 9.4843 | 34.6175 |  | 34.6175
WO4 | Peat | [6 empty] | 9.7239 | 35.4922 |  | 35.4922
TH1 | Pumped Storage | 3.3863 | [5 empty] | 13.6444 | 49.8021 |  | 49.8021
TH2 | Pumped Storage | 2.1962 | [5 empty] | 4.9487 | 18.0627 |  | 18.0627
TH3 | Pumped Storage | 2.8656 | [5 empty] | 5.0539 | 18.4468 |  | 18.4468
TH4 | Pumped Storage | 1.0227 | [5 empty] | 6.5154 | 23.7814 |  | 23.7814
MOYLE | IC | [6 empty] | 0.305 | 1.1133 |  | 1.1133
Note on M4: Assumed that FGD change in 2007 will last 25 years. Therefore impact is spread over whole period. As a result a fifth of the impact of the FGD occurs in the sample period of 5 years
Note on M5: Assumed that FGD change in 2007 will last 25 years. Therefore impact is spread over whole period. As a result a fifth of the impact of the FGD occurs in the sample period of 5 years
Note on M6: Assumed that FGD change in 2007 will last 25 years. Therefore impact is spread over whole period. As a result a fifth of the impact of the FGD occurs in the sample period of 5 years
Note on M7: Assumed that FGD change in 2008 will last 25 years. Therefore impact is spread over whole period. As a result a fifth of the impact of the FGD occurs in the sample period of 5 years
Note on M8: Assumed that FGD change in 2006 will last 25 years. Therefore impact is spread over whole period. As a result a fifth of the impact of the FGD occurs in the sample period of 5 years
Assumptions made in Data Analysis
1) For years with no data available, the average SOD for the fuel type of the plant has been used.
2) For Coal plants, it is assumed that FGD changes will last 25 years. Therefore impact is spread over whole period. As a result a fifth of the impact of the FGD occurs in the sample period of 5 years. Therefore the SOD is adjusted for 2006, 2007 & 2008 for coal plants to account for FGD
Historical Data on Actual SODs per unit are not in public domain. Therefore only the 5 year average values have been published here.

## B'lumford & Poolbeg
Ballylumford CCGT |  |  |  |  | Poolbeg CCGT
Plant Name | Unit Type | Capacity | Average SOD (Days) | Cap * SOD | Plant Name | Unit Type | Capacity | Average SOD (Days) | Cap * SOD
Ballylumford CCGT 20 | STEAM | 176 | 7.7161 | 1358.0336 | PB16 | STEAM | 160 | 33.3757 | 5340.1071
Ballylumford CCGT 21 | GT1 | 161 | 8.9139 | 1435.1459 | PB14 | GT1 | 160 | 21.3474 | 5123.3768
Ballylumford CCGT 22 | GT2 | 161 | 19.5188 | 3142.5325 | PB15 | GT2 | 160 | 21.5772 | 5178.5182
Comments |  |  |  |  | Comments
2 GT plant feed into steam plant. |  |  |  |  | 2 GT plant feed into steam plant.
Therefore if GT not working, Steam plant cannot generate either |  |  |  |  | Therefore if GT not working, Steam plant cannot generate either
Therefore assume that there are 2 virtual units, each accounting for half the steam plant |  |  |  |  | In this case, assume that there is 1 virtual unit
Programme | Capacity | Cap * SOD | Average SOD (Days) |  | Programme | Capacity | Cap * SOD | Average SOD (Days)
U31 | 249 | 2114.1627 | 8.4906 |  | PB14' | 240 | 7793.4303 | 32.4726
U32 | 249 | 3821.5493 | 15.3476 |  | PB15' | 240 | 7848.5717 | 32.7024
[5 empty] | PBC | 480 | 15642.0021 | 32.5875