## NI Transmission Nodes TLAFs
NORTHERN IRELAND TRANSMISSION LOSS ADJUSTMENT FACTORS 2010/11
Transmission Station | Bus Voltage kV | [8 empty] | Month
|  | October 2010 |  | November 2010 |  | December 2010 |  | January 2011 |  | February 2011 |  | March 2011 |  | April 2011 |  | May 2011 |  | June 2011 |  | July 2011 |  | August 2011 |  | September 2011
|  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Aghyoule | 110 | 0.983 | 0.981 | 0.987 | 0.985 | 0.992 | 0.986 | 0.992 | 0.986 | 0.987 | 0.985 | 0.983 | 0.981 | 0.987 | 0.978 | 0.995 | 0.993 | 0.99 | 0.99 | 0.99 | 0.99 | 0.995 | 0.993 | 0.987 | 0.978
Antrim | 110 | 0.995 | 0.999 | 0.995 | 1.001 | 0.998 | 1.002 | 0.998 | 1.002 | 0.995 | 1.001 | 0.995 | 0.999 | 1.001 | 0.996 | 1 | 0.998 | 0.994 | 0.997 | 0.994 | 0.997 | 1 | 0.998 | 1.001 | 0.996
Ballylumford | 110 | 0.987 | 0.995 | 0.987 | 0.997 | 0.989 | 0.998 | 0.989 | 0.998 | 0.987 | 0.997 | 0.987 | 0.995 | 0.996 | 0.993 | 0.993 | 0.994 | 0.986 | 0.992 | 0.986 | 0.992 | 0.993 | 0.994 | 0.996 | 0.993
Ballylumford | 275 | 0.992 | 0.997 | 0.991 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.991 | 0.998 | 0.992 | 0.997 | 0.999 | 0.994 | 0.997 | 0.996 | 0.991 | 0.995 | 0.991 | 0.995 | 0.997 | 0.996 | 0.999 | 0.994
Ballymena | 110 | 0.997 | 1.001 | 0.998 | 1.002 | 1.001 | 1.004 | 1.001 | 1.004 | 0.998 | 1.002 | 0.997 | 1.001 | 1.003 | 0.997 | 1.002 | 0.999 | 0.996 | 0.999 | 0.996 | 0.999 | 1.002 | 0.999 | 1.003 | 0.997
Banbridge | 110 | 1.001 | 1.003 | 1.002 | 1.004 | 1.004 | 1.006 | 1.004 | 1.006 | 1.002 | 1.004 | 1.001 | 1.003 | 1.004 | 0.999 | 1.004 | 1.001 | 1 | 1.001 | 1 | 1.001 | 1.004 | 1.001 | 1.004 | 0.999
Ballyvallagh | 110 | 0.991 | 0.997 | 0.991 | 0.999 | 0.993 | 1 | 0.993 | 1 | 0.991 | 0.999 | 0.991 | 0.997 | 0.998 | 0.994 | 0.996 | 0.996 | 0.99 | 0.994 | 0.99 | 0.994 | 0.996 | 0.996 | 0.998 | 0.994
Ballynahinch | 110 | 1.004 | 1.005 | 1.006 | 1.008 | 1.009 | 1.009 | 1.009 | 1.009 | 1.006 | 1.008 | 1.004 | 1.005 | 1.009 | 1.001 | 1.007 | 1.003 | 1.001 | 1.002 | 1.001 | 1.002 | 1.007 | 1.003 | 1.009 | 1.001
Carnmoney | 110 | 0.996 | 1.001 | 0.997 | 1.003 | 1 | 1.004 | 1 | 1.004 | 0.997 | 1.003 | 0.996 | 1.001 | 1.003 | 0.998 | 1.001 | 0.999 | 0.995 | 0.998 | 0.995 | 0.998 | 1.001 | 0.999 | 1.003 | 0.998
Castlereagh | 110 | 1 | 1.002 | 1.001 | 1.004 | 1.004 | 1.006 | 1.004 | 1.006 | 1.001 | 1.004 | 1 | 1.002 | 1.005 | 0.999 | 1.004 | 1.001 | 0.998 | 1 | 0.998 | 1 | 1.004 | 1.001 | 1.005 | 0.999
Castlereagh | 275 | 0.997 | 1 | 0.998 | 1.002 | 1 | 1.004 | 1 | 1.004 | 0.998 | 1.002 | 0.997 | 1 | 1.002 | 0.997 | 1.001 | 0.999 | 0.996 | 0.998 | 0.996 | 0.998 | 1.001 | 0.999 | 1.002 | 0.997
Belfast Central | 110 | 1 | 1.003 | 1.002 | 1.005 | 1.004 | 1.006 | 1.004 | 1.006 | 1.002 | 1.005 | 1 | 1.003 | 1.006 | 0.999 | 1.004 | 1.001 | 0.999 | 1 | 0.999 | 1 | 1.004 | 1.001 | 1.006 | 0.999
Coleraine | 110 | 0.994 | 0.999 | 0.997 | 1.001 | 1.002 | 1.003 | 1.002 | 1.003 | 0.997 | 1.001 | 0.994 | 0.999 | 0.999 | 0.993 | 0.998 | 0.998 | 0.994 | 0.998 | 0.994 | 0.998 | 0.998 | 0.998 | 0.999 | 0.993
Coolkeeragh | 110 | 0.984 | 0.994 | 0.985 | 0.994 | 0.99 | 0.995 | 0.99 | 0.995 | 0.985 | 0.994 | 0.984 | 0.994 | 0.989 | 0.987 | 0.989 | 0.992 | 0.986 | 0.995 | 0.986 | 0.995 | 0.989 | 0.992 | 0.989 | 0.987
Coolkeeragh | 275 | 0.986 | 0.995 | 0.987 | 0.995 | 0.991 | 0.997 | 0.991 | 0.997 | 0.987 | 0.995 | 0.986 | 0.995 | 0.991 | 0.989 | 0.991 | 0.993 | 0.987 | 0.995 | 0.987 | 0.995 | 0.991 | 0.993 | 0.991 | 0.989
Creagh | 110 | 0.996 | 0.999 | 0.996 | 1.001 | 0.999 | 1.003 | 0.999 | 1.003 | 0.996 | 1.001 | 0.996 | 0.999 | 1.001 | 0.996 | 1.001 | 0.999 | 0.996 | 0.998 | 0.996 | 0.998 | 1.001 | 0.999 | 1.001 | 0.996
Cregagh | 110 | 1 | 1.002 | 1.001 | 1.005 | 1.004 | 1.006 | 1.004 | 1.006 | 1.001 | 1.005 | 1 | 1.002 | 1.006 | 0.999 | 1.004 | 1.001 | 0.999 | 1 | 0.999 | 1 | 1.004 | 1.001 | 1.006 | 0.999
Donegal | 110 | 0.999 | 1.002 | 1 | 1.004 | 1.002 | 1.005 | 1.002 | 1.005 | 1 | 1.004 | 0.999 | 1.002 | 1.005 | 0.999 | 1.003 | 1 | 0.997 | 0.999 | 0.997 | 0.999 | 1.003 | 1 | 1.005 | 0.999
Drumnakelly | 110 | 0.999 | 1.001 | 1 | 1.003 | 1.002 | 1.004 | 1.002 | 1.004 | 1 | 1.003 | 0.999 | 1.001 | 1.003 | 0.998 | 1.003 | 1 | 0.999 | 1 | 0.999 | 1 | 1.003 | 1 | 1.003 | 0.998
Dungannon | 110 | 0.995 | 0.998 | 0.996 | 1 | 0.999 | 1.001 | 0.999 | 1.001 | 0.996 | 1 | 0.995 | 0.998 | 1 | 0.994 | 1.001 | 0.999 | 0.996 | 0.998 | 0.996 | 0.998 | 1.001 | 0.999 | 1 | 0.994
Eden | 110 | 0.993 | 0.998 | 0.994 | 1.001 | 0.995 | 1.002 | 0.995 | 1.002 | 0.994 | 1.001 | 0.993 | 0.998 | 1 | 0.996 | 0.998 | 0.997 | 0.991 | 0.995 | 0.991 | 0.995 | 0.998 | 0.997 | 1 | 0.996
Enniskillen | 110 | 0.986 | 0.985 | 0.989 | 0.989 | 0.994 | 0.99 | 0.994 | 0.99 | 0.989 | 0.989 | 0.986 | 0.985 | 0.989 | 0.981 | 0.997 | 0.995 | 0.992 | 0.994 | 0.992 | 0.994 | 0.997 | 0.995 | 0.989 | 0.981
Finaghy | 110 | 0.998 | 1.001 | 0.999 | 1.003 | 1.002 | 1.005 | 1.002 | 1.005 | 0.999 | 1.003 | 0.998 | 1.001 | 1.004 | 0.998 | 1.003 | 1 | 0.997 | 0.999 | 0.997 | 0.999 | 1.003 | 1 | 1.004 | 0.998
Glengormley | 110 | 0.9945 | 0.999 | 0.9945 | 1.0005 | 0.998 | 1.002 | 0.998 | 1.002 | 0.9945 | 1.0005 | 0.9945 | 0.999 | 1.0005 | 0.996 | 0.9995 | 0.998 | 0.9945 | 0.997 | 0.9945 | 0.997 | 0.9995 | 0.998 | 1.0005 | 0.996
Hannahstown | 110 | 0.998 | 1.001 | 0.999 | 1.003 | 1.002 | 1.005 | 1.002 | 1.005 | 0.999 | 1.003 | 0.998 | 1.001 | 1.004 | 0.998 | 1.002 | 1 | 0.997 | 0.999 | 0.997 | 0.999 | 1.002 | 1 | 1.004 | 0.998
Hannahstown | 275 | 0.996 | 1 | 0.996 | 1.001 | 0.999 | 1.003 | 0.999 | 1.003 | 0.996 | 1.001 | 0.996 | 1 | 1.002 | 0.997 | 1 | 0.998 | 0.995 | 0.997 | 0.995 | 0.997 | 1 | 0.998 | 1.002 | 0.997
Kells | 110 | 0.994 | 0.998 | 0.994 | 1 | 0.997 | 1.001 | 0.997 | 1.001 | 0.994 | 1 | 0.994 | 0.998 | 1 | 0.995 | 0.999 | 0.997 | 0.993 | 0.996 | 0.993 | 0.996 | 0.999 | 0.997 | 1 | 0.995
Kells | 275 | 0.993 | 0.998 | 0.993 | 0.999 | 0.996 | 1.001 | 0.996 | 1.001 | 0.993 | 0.999 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.993 | 0.996 | 0.993 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Kilroot | 275 | 0.993 | 0.998 | 0.994 | 1 | 0.996 | 1.001 | 0.996 | 1.001 | 0.994 | 1 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.994 | 0.996 | 0.994 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Knock | 110 | 1 | 1.003 | 1.002 | 1.005 | 1.005 | 1.006 | 1.005 | 1.006 | 1.002 | 1.005 | 1 | 1.003 | 1.006 | 0.999 | 1.004 | 1.001 | 0.999 | 1 | 0.999 | 1 | 1.004 | 1.001 | 1.006 | 0.999
Larne | 110 | 0.991 | 0.997 | 0.992 | 0.999 | 0.994 | 1 | 0.994 | 1 | 0.992 | 0.999 | 0.991 | 0.997 | 0.999 | 0.995 | 0.997 | 0.996 | 0.99 | 0.995 | 0.99 | 0.995 | 0.997 | 0.996 | 0.999 | 0.995
Limavady | 110 | 0.991 | 0.997 | 0.994 | 0.999 | 0.999 | 1 | 0.999 | 1 | 0.994 | 0.999 | 0.991 | 0.997 | 0.996 | 0.991 | 0.995 | 0.996 | 0.991 | 0.997 | 0.991 | 0.997 | 0.995 | 0.996 | 0.996 | 0.991
Lisburn | 110 | 1 | 1.002 | 1.001 | 1.005 | 1.004 | 1.006 | 1.004 | 1.006 | 1.001 | 1.005 | 1 | 1.002 | 1.005 | 0.999 | 1.004 | 1.001 | 0.999 | 1 | 0.999 | 1 | 1.004 | 1.001 | 1.005 | 0.999
Lisaghmore | 110 | 0.985 | 0.994 | 0.986 | 0.995 | 0.99 | 0.995 | 0.99 | 0.995 | 0.986 | 0.995 | 0.985 | 0.994 | 0.99 | 0.988 | 0.99 | 0.993 | 0.987 | 0.996 | 0.987 | 0.996 | 0.99 | 0.993 | 0.99 | 0.988
Loguestown | 110 | 0.995 | 0.999 | 0.998 | 1.002 | 1.003 | 1.003 | 1.003 | 1.003 | 0.998 | 1.002 | 0.995 | 0.999 | 1 | 0.993 | 0.999 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.999 | 0.998 | 1 | 0.993
Magherafelt | 275 | 0.992 | 0.997 | 0.992 | 0.999 | 0.995 | 1 | 0.995 | 1 | 0.992 | 0.999 | 0.992 | 0.997 | 0.998 | 0.994 | 0.997 | 0.996 | 0.992 | 0.996 | 0.992 | 0.996 | 0.997 | 0.996 | 0.998 | 0.994
Moyle (Auchencrosh) | 275 | 0.974 | 0.979 | 0.973 | 0.98 | 0.976 | 0.981 | 0.976 | 0.981 | 0.973 | 0.98 | 0.974 | 0.979 | 0.981 | 0.976 | 0.979 | 0.978 | 0.973 | 0.977 | 0.973 | 0.977 | 0.979 | 0.978 | 0.981 | 0.976
Newtownards | 110 | 1.003 | 1.004 | 1.005 | 1.007 | 1.008 | 1.009 | 1.008 | 1.009 | 1.005 | 1.007 | 1.003 | 1.004 | 1.008 | 1.001 | 1.006 | 1.003 | 1.001 | 1.001 | 1.001 | 1.001 | 1.006 | 1.003 | 1.008 | 1.001
Newry | 110 | 1.005 | 1.006 | 1.007 | 1.008 | 1.01 | 1.01 | 1.01 | 1.01 | 1.007 | 1.008 | 1.005 | 1.006 | 1.009 | 1.002 | 1.008 | 1.004 | 1.004 | 1.003 | 1.004 | 1.003 | 1.008 | 1.004 | 1.009 | 1.002
Omagh | 110 | 0.983 | 0.986 | 0.985 | 0.988 | 0.99 | 0.989 | 0.99 | 0.989 | 0.985 | 0.988 | 0.983 | 0.986 | 0.987 | 0.982 | 0.995 | 0.995 | 0.991 | 0.994 | 0.991 | 0.994 | 0.995 | 0.995 | 0.987 | 0.982
Rathgael | 110 | 1.005 | 1.006 | 1.007 | 1.009 | 1.01 | 1.01 | 1.01 | 1.01 | 1.007 | 1.009 | 1.005 | 1.006 | 1.01 | 1.002 | 1.008 | 1.004 | 1.002 | 1.002 | 1.002 | 1.002 | 1.008 | 1.004 | 1.01 | 1.002
Rosebank | 110 | 1 | 1.002 | 1.001 | 1.004 | 1.004 | 1.006 | 1.004 | 1.006 | 1.001 | 1.004 | 1 | 1.002 | 1.005 | 0.999 | 1.004 | 1.001 | 0.998 | 1 | 0.998 | 1 | 1.004 | 1.001 | 1.005 | 0.999
Slieve Kirk | 110 | 0.984 | 0.992 | 0.985 | 0.993 | 0.99 | 0.994 | 0.99 | 0.994 | 0.985 | 0.993 | 0.984 | 0.992 | 0.989 | 0.986 | 0.99 | 0.993 | 0.987 | 0.995 | 0.987 | 0.995 | 0.99 | 0.993 | 0.989 | 0.986
Slieve Kirk T-Off | 110 | 0.984 | 0.992 | 0.985 | 0.993 | 0.99 | 0.995 | 0.99 | 0.995 | 0.985 | 0.993 | 0.984 | 0.992 | 0.989 | 0.986 | 0.99 | 0.993 | 0.987 | 0.995 | 0.987 | 0.995 | 0.99 | 0.993 | 0.989 | 0.986
Springtown | 110 | 0.984 | 0.993 | 0.987 | 0.995 | 0.991 | 0.996 | 0.991 | 0.996 | 0.987 | 0.995 | 0.984 | 0.993 | 0.989 | 0.987 | 0.989 | 0.992 | 0.986 | 0.995 | 0.986 | 0.995 | 0.989 | 0.992 | 0.989 | 0.987
Strabane | 110 | 0.984 | 0.991 | 0.986 | 0.993 | 0.99 | 0.994 | 0.99 | 0.994 | 0.986 | 0.993 | 0.984 | 0.991 | 0.989 | 0.986 | 0.991 | 0.993 | 0.988 | 0.995 | 0.988 | 0.995 | 0.991 | 0.993 | 0.989 | 0.986
Tandragee | 110 | 0.999 | 1.001 | 1 | 1.003 | 1.002 | 1.004 | 1.002 | 1.004 | 1 | 1.003 | 0.999 | 1.001 | 1.002 | 0.998 | 1.002 | 1 | 0.998 | 0.999 | 0.998 | 0.999 | 1.002 | 1 | 1.002 | 0.998
Tandragee | 275 | 0.998 | 1 | 0.998 | 1.002 | 1 | 1.003 | 1 | 1.003 | 0.998 | 1.002 | 0.998 | 1 | 1.001 | 0.997 | 1.001 | 0.999 | 0.997 | 0.999 | 0.997 | 0.999 | 1.001 | 0.999 | 1.001 | 0.997
Tamnamore | 110 | 0.993 | 0.997 | 0.994 | 0.999 | 0.997 | 1 | 0.997 | 1 | 0.994 | 0.999 | 0.993 | 0.997 | 0.998 | 0.994 | 0.999 | 0.998 | 0.994 | 0.997 | 0.994 | 0.997 | 0.999 | 0.998 | 0.998 | 0.994
Tamnamore | 275 | 0.991 | 0.997 | 0.991 | 0.998 | 0.995 | 1 | 0.995 | 1 | 0.991 | 0.998 | 0.991 | 0.997 | 0.997 | 0.993 | 0.997 | 0.996 | 0.991 | 0.996 | 0.991 | 0.996 | 0.997 | 0.996 | 0.997 | 0.993
Waringstown | 110 | 1.001 | 1.003 | 1.002 | 1.004 | 1.004 | 1.006 | 1.004 | 1.006 | 1.002 | 1.004 | 1.001 | 1.003 | 1.005 | 1 | 1.004 | 1.001 | 1 | 1.001 | 1 | 1.001 | 1.004 | 1.001 | 1.005 | 1
Power Station West | 110 | 1 | 1.002 | 1.001 | 1.005 | 1.003 | 1.006 | 1.003 | 1.006 | 1.001 | 1.005 | 1 | 1.002 | 1.006 | 0.999 | 1.0038 | 1.0007 | 0.99788 | 0.99941 | 0.99788 | 0.99941 | 1.0038 | 1.0007 | 1.006 | 0.999
Moyle (Ballycronan More) | 275 | 0.992 | 0.997 | 0.991 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.991 | 0.998 | 0.992 | 0.997 | 0.999 | 0.994 | 0.997 | 0.996 | 0.991 | 0.995 | 0.991 | 0.995 | 0.997 | 0.996 | 0.999 | 0.994

## NI Market Participant TLAFs
NORTHERN IRELAND TRANSMISSION LOSS ADJUSTMENT FACTORS 2010/11
NI Transmission-Connected Generation Station | Unit Identifier |  | Connected at | Month
|  |  |  | October 2010 |  | November 2010 |  | December 2010 |  | January 2011 |  | February 2011 |  | March 2011 |  | April 2011 |  | May 2011 |  | June 2011 |  | July 2011 |  | August 2011 |  | September 2011
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Ballylumford | B4 | GU_500100 | Ballylumford 275 kV | 0.992 | 0.997 | 0.991 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.991 | 0.998 | 0.992 | 0.997 | 0.999 | 0.994 | 0.997 | 0.996 | 0.991 | 0.995 | 0.991 | 0.995 | 0.997 | 0.996 | 0.999 | 0.994
Ballylumford (deregistered GU_500110) | B5 | GU_500281 | Ballylumford 275 kV | 0.992 | 0.997 | 0.991 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.991 | 0.998 | 0.992 | 0.997 | 0.999 | 0.994 | 0.997 | 0.996 | 0.991 | 0.995 | 0.991 | 0.995 | 0.997 | 0.996 | 0.999 | 0.994
Ballylumford (deregistered GU_500120) | B6 | GU_500280 | Ballylumford 275 kV | 0.992 | 0.997 | 0.991 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.991 | 0.998 | 0.992 | 0.997 | 0.999 | 0.994 | 0.997 | 0.996 | 0.991 | 0.995 | 0.991 | 0.995 | 0.997 | 0.996 | 0.999 | 0.994
Ballylumford | BGT1 | GU_500150 | Ballylumford 110 kV | 0.987 | 0.995 | 0.987 | 0.997 | 0.989 | 0.998 | 0.989 | 0.998 | 0.987 | 0.997 | 0.987 | 0.995 | 0.996 | 0.993 | 0.993 | 0.994 | 0.986 | 0.992 | 0.986 | 0.992 | 0.993 | 0.994 | 0.996 | 0.993
Ballylumford | BGT2 | GU_500160 | Ballylumford 110 kV | 0.987 | 0.995 | 0.987 | 0.997 | 0.989 | 0.998 | 0.989 | 0.998 | 0.987 | 0.997 | 0.987 | 0.995 | 0.996 | 0.993 | 0.993 | 0.994 | 0.986 | 0.992 | 0.986 | 0.992 | 0.993 | 0.994 | 0.996 | 0.993
Ballylumford | B10 | GU_500140 | Ballylumford 110 kV | 0.987 | 0.995 | 0.987 | 0.997 | 0.989 | 0.998 | 0.989 | 0.998 | 0.987 | 0.997 | 0.987 | 0.995 | 0.996 | 0.993 | 0.993 | 0.994 | 0.986 | 0.992 | 0.986 | 0.992 | 0.993 | 0.994 | 0.996 | 0.993
Ballylumford | B31 | GU_500130 | Ballylumford 275 kV | 0.992 | 0.997 | 0.991 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.991 | 0.998 | 0.992 | 0.997 | 0.999 | 0.994 | 0.997 | 0.996 | 0.991 | 0.995 | 0.991 | 0.995 | 0.997 | 0.996 | 0.999 | 0.994
Ballylumford | B32 | GU_500131 | Ballylumford 275 kV | 0.992 | 0.997 | 0.991 | 0.998 | 0.994 | 0.999 | 0.994 | 0.999 | 0.991 | 0.998 | 0.992 | 0.997 | 0.999 | 0.994 | 0.997 | 0.996 | 0.991 | 0.995 | 0.991 | 0.995 | 0.997 | 0.996 | 0.999 | 0.994
Coolkeeragh | C30 | GU_500040 | Coolkeeragh 275/110 kV | 0.98533 | 0.99467 | 0.98633 | 0.99467 | 0.99067 | 0.99633 | 0.99067 | 0.99633 | 0.98633 | 0.99467 | 0.98533 | 0.99467 | 0.99033 | 0.98833 | 0.99033 | 0.99267 | 0.98667 | 0.995 | 0.98667 | 0.995 | 0.99033 | 0.99267 | 0.99033 | 0.98833
Coolkeeragh | CGT8 | GU_500170 | Coolkeeragh 110 kV | 0.984 | 0.994 | 0.985 | 0.994 | 0.99 | 0.995 | 0.99 | 0.995 | 0.985 | 0.994 | 0.984 | 0.994 | 0.989 | 0.987 | 0.989 | 0.992 | 0.986 | 0.995 | 0.986 | 0.995 | 0.989 | 0.992 | 0.989 | 0.987
Kilroot | K1 | GU_500060 | Kilroot 275 kV | 0.993 | 0.998 | 0.994 | 1 | 0.996 | 1.001 | 0.996 | 1.001 | 0.994 | 1 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.994 | 0.996 | 0.994 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Kilroot | K2 | GU_500070 | Kilroot 275 kV | 0.993 | 0.998 | 0.994 | 1 | 0.996 | 1.001 | 0.996 | 1.001 | 0.994 | 1 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.994 | 0.996 | 0.994 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Kilroot | KGT1 | GU_500080 | Kilroot 275 kV | 0.993 | 0.998 | 0.994 | 1 | 0.996 | 1.001 | 0.996 | 1.001 | 0.994 | 1 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.994 | 0.996 | 0.994 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Kilroot | KGT2 | GU_500090 | Kilroot 275 kV | 0.993 | 0.998 | 0.994 | 1 | 0.996 | 1.001 | 0.996 | 1.001 | 0.994 | 1 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.994 | 0.996 | 0.994 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Kilroot | KGT3 | GU_500820 | Kilroot 275 kV | 0.993 | 0.998 | 0.994 | 1 | 0.996 | 1.001 | 0.996 | 1.001 | 0.994 | 1 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.994 | 0.996 | 0.994 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Kilroot | KGT4 | GU_500821 | Kilroot 275 kV | 0.993 | 0.998 | 0.994 | 1 | 0.996 | 1.001 | 0.996 | 1.001 | 0.994 | 1 | 0.993 | 0.998 | 0.999 | 0.995 | 0.998 | 0.997 | 0.994 | 0.996 | 0.994 | 0.996 | 0.998 | 0.997 | 0.999 | 0.995
Moyle (Auchencrosh)* | M | GU_500200 | Auchencrosh 275 kV* | 0.974 | 0.979 | 0.973 | 0.98 | 0.976 | 0.981 | 0.976 | 0.981 | 0.973 | 0.98 | 0.974 | 0.979 | 0.981 | 0.976 | 0.979 | 0.978 | 0.973 | 0.977 | 0.973 | 0.977 | 0.979 | 0.978 | 0.981 | 0.976
NI Distribution-Connected Generation Station | Unit Identifier |  | Connected/Embedded at | Month
|  |  |  | October 2010 |  | November 2010 |  | December 2010 |  | January 2011 |  | February 2011 |  | March 2011 |  | April 2011 |  | May 2011 |  | June 2011 |  | July 2011 |  | August 2011 |  | September 2011
| SO | MO |  | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night | Day | Night
Altahullion (1) | Wind Farm | GU_500210 | Limavady 110 kV | 0.991 | 0.997 | 0.994 | 0.999 | 0.999 | 1 | 0.999 | 1 | 0.994 | 0.999 | 0.991 | 0.997 | 0.996 | 0.991 | 0.995 | 0.996 | 0.991 | 0.997 | 0.991 | 0.997 | 0.995 | 0.996 | 0.996 | 0.991
Altahullion (2) | Wind Farm | GU_500211 | Limavady 110 kV | 0.991 | 0.997 | 0.994 | 0.999 | 0.999 | 1 | 0.999 | 1 | 0.994 | 0.999 | 0.991 | 0.997 | 0.996 | 0.991 | 0.995 | 0.996 | 0.991 | 0.997 | 0.991 | 0.997 | 0.995 | 0.996 | 0.996 | 0.991
Callagheen | Wind Farm | GU_500020 | Enniskillen 110 kV | 0.986 | 0.985 | 0.989 | 0.989 | 0.994 | 0.99 | 0.994 | 0.99 | 0.989 | 0.989 | 0.986 | 0.985 | 0.989 | 0.981 | 0.997 | 0.995 | 0.992 | 0.994 | 0.992 | 0.994 | 0.997 | 0.995 | 0.989 | 0.981
Lendrums Bridge (1) | Wind Farm | GU_500260 | Omagh 110 kV | 0.983 | 0.986 | 0.985 | 0.988 | 0.99 | 0.989 | 0.99 | 0.989 | 0.985 | 0.988 | 0.983 | 0.986 | 0.987 | 0.982 | 0.995 | 0.995 | 0.991 | 0.994 | 0.991 | 0.994 | 0.995 | 0.995 | 0.987 | 0.982
Lendrums Bridge (2) | Wind Farm | GU_500220 | Omagh 110 kV | 0.983 | 0.986 | 0.985 | 0.988 | 0.99 | 0.989 | 0.99 | 0.989 | 0.985 | 0.988 | 0.983 | 0.986 | 0.987 | 0.982 | 0.995 | 0.995 | 0.991 | 0.994 | 0.991 | 0.994 | 0.995 | 0.995 | 0.987 | 0.982
Mantlin Limited | Wind Farm | GU_500270 | Aghyoule 110 kV | 0.983 | 0.981 | 0.987 | 0.985 | 0.992 | 0.986 | 0.992 | 0.986 | 0.987 | 0.985 | 0.983 | 0.981 | 0.987 | 0.978 | 0.995 | 0.993 | 0.99 | 0.99 | 0.99 | 0.99 | 0.995 | 0.993 | 0.987 | 0.978
Snugborough | Wind Farm | GU_500180 | Aghyoule 110 kV | 0.983 | 0.981 | 0.987 | 0.985 | 0.992 | 0.986 | 0.992 | 0.986 | 0.987 | 0.985 | 0.983 | 0.981 | 0.987 | 0.978 | 0.995 | 0.993 | 0.99 | 0.99 | 0.99 | 0.99 | 0.995 | 0.993 | 0.987 | 0.978
Tappaghan | Wind Farm | GU_500010 | Omagh 110 kV | 0.983 | 0.986 | 0.985 | 0.988 | 0.99 | 0.989 | 0.99 | 0.989 | 0.985 | 0.988 | 0.983 | 0.986 | 0.987 | 0.982 | 0.995 | 0.995 | 0.991 | 0.994 | 0.991 | 0.994 | 0.995 | 0.995 | 0.987 | 0.982
Slieve Divena | Wind Farm | GU_500740 | Omagh 110 kV | 0.983 | 0.986 | 0.985 | 0.988 | 0.99 | 0.989 | 0.99 | 0.989 | 0.985 | 0.988 | 0.983 | 0.986 | 0.987 | 0.982 | 0.995 | 0.995 | 0.991 | 0.994 | 0.991 | 0.994 | 0.995 | 0.995 | 0.987 | 0.982
Garves | Wind Farm | GU_500720 | Coleraine 110 kV | 0.994 | 0.999 | 0.997 | 1.001 | 1.002 | 1.003 | 1.002 | 1.003 | 0.997 | 1.001 | 0.994 | 0.999 | 0.999 | 0.993 | 0.998 | 0.998 | 0.994 | 0.998 | 0.994 | 0.998 | 0.998 | 0.998 | 0.999 | 0.993
Gruig | Wind Farm | GU_500790 | Coleraine 110 kV | 0.994 | 0.999 | 0.997 | 1.001 | 1.002 | 1.003 | 1.002 | 1.003 | 0.997 | 1.001 | 0.994 | 0.999 | 0.999 | 0.993 | 0.998 | 0.998 | 0.994 | 0.998 | 0.994 | 0.998 | 0.998 | 0.998 | 0.999 | 0.993
Contour global |  | GU_500900 | Lisburn 110 | 1 | 1.002 | 1.001 | 1.005 | 1.004 | 1.006 | 1.004 | 1.006 | 1.001 | 1.005 | 1 | 1.002 | 1.005 | 0.999 | 1.004 | 1.001 | 0.999 | 1 | 0.999 | 1 | 1.004 | 1.001 | 1.005 | 0.999
Contour global |  | GU_500901 | Lisburn 110 | 1 | 1.002 | 1.001 | 1.005 | 1.004 | 1.006 | 1.004 | 1.006 | 1.001 | 1.005 | 1 | 1.002 | 1.005 | 0.999 | 1.004 | 1.001 | 0.999 | 1 | 0.999 | 1 | 1.004 | 1.001 | 1.005 | 0.999
Contour global |  | GU_500902 | Lisburn 110 | 1 | 1.002 | 1.001 | 1.005 | 1.004 | 1.006 | 1.004 | 1.006 | 1.001 | 1.005 | 1 | 1.002 | 1.005 | 0.999 | 1.004 | 1.001 | 0.999 | 1 | 0.999 | 1 | 1.004 | 1.001 | 1.005 | 0.999
Energia AGU | AGU (PPMG) | GU_500990 | N/A | 0.99654 | 0.99979 | 0.99737 | 1.0018 | 1.0001 | 1.003 | 1.0001 | 1.003 | 0.99737 | 1.0018 | 0.99654 | 0.99979 | 1.0019 | 0.99643 | 1.0013 | 0.99911 | 0.99617 | 0.99844 | 0.99617 | 0.99844 | 1.0013 | 0.99911 | 1.0019 | 0.99643