## Workbook Structure
AS&OSC WORKBOOK STRUCTURE
Regulatory Authorities
Grid Code
Ancillary Services Agreements
User-Defined (Scenarios)
Approved AS Parameters
Approved Other Charge Parameters
Approved Equations
Grid Code Obligations
AS Agreement Parameters
Scenario Parameters
Reserve
Reactive Power
Black Start
Short Notice Declarations
Trip Charges
GPI Trading Period Charge
GPI Event Charge

## History
AS&OSC HISTORY
Issue | Date | Produced By | Comment
1.0 | 2010-06-25 | EirGrid & SONI | First version.
2.0 | 2010-10-01 | EirGrid & SONI | File updated to reflect changes from 2010/2011 consultation

## Disclaimer
AS&OSC DISCLAIMER
This Ancillary Services and Other System Charges Example Calculator has been prepared to provide Industry Participants with useful information to support understanding of the harmonised Ancillary Services and Other System Charges arrangements. The following disclaimers relate to the content of this spreadsheet and any use by Industry Participants of the information provided therein. Parties should base any decision or actions on the legally binding documents rather than on this summary. For ease of understanding, the term “Republic of Ireland” is use to clearly distinguish those provisions applying in Ireland from those that apply in Northern Ireland. Please notify any potential errors to EirGrid or SONI so that they can be reviewed and corrected.
• The results provided by the calculator are illustrative and indicative of the main features of the new arrangements. The calculator does not precisely replicate settlement calculations and outcomes.
• EirGrid and SONI accept no responsibility for decisions made or actions taken by Industry Participants as a result of the information presented in this document or any associated documents. Furthermore, EirGrid and SONI do not indemnify any commercial or organisational decisions made by Industry Participants in relation to the information herein.
• This document represents example applications of the payment and charge calculations approved by the Regulatory Authorities in Northern Ireland and the Republic of Ireland. Whilst EirGrid and SONI have endeavoured to ensure that the calculations presented in the ASOSC Calculator reflect the approved position, it is not appropriate to rely in any way on the calculations and outcomes presented. Instead, it is the responsibility of Industry Participants solely to undertake appropriate analysis and modelling to support impact assessment of the new arrangements. Although EirGrid and SONI have made all reasonable efforts to ensure that the information presented is correct, neither can guarantee the information or calculations provided.
• Further changes to the calculations may result from future changes or clarifications to the harmonised Ancillary Services arrangements. As this occurs, it is the intention of EirGrid and SONI to issue updates to this document and associated documents (including the ASOSC Calculator) to support Industry Participant understanding.

## User Guide
AS&OSC USER GUIDE
Contents
This workbook covers the following payments and charges calculations on different worksheets:
Ancillary Services | Other System Charges
Reserve | Short Notice Declaration Charges
Reactive Power | Trip Charges
Black Start | Generator Performance Incentive Charges (Trading Period Based Type)
Generator Performance Incentive Charges (Event Based Type)
General
The workbook contains the regulatory approved AS and OSC parameters and rates for Tariff Year ending 30th September 2010.
In each of the calculations worksheets, there is an input data section which allows plant-specific scenarios to be developed by a User. These parameters are shaded yellow and green within each worksheet. All values entered by the user are not validated in any way.
There are a number of agreement-related values which apply for the relevant scenario and for the selected Generator. These parameters highlighted in yellow within the “Unit Specific Parameters” section of certain worksheets. By default there are set as the values contained in the EirGrid Grid Code.
It is the responsibility of the User to ensure that the entered parameters are consistent with each other (there is no consistency logic implemented within the Calculator).
AS Approved Parameters
This worksheet contains the regulatory approved rates for Ancillary Services.
Select the relevant Jurisdiction - NI or ROI.
Select the plant type - whether it is a Centrally Dispatched Generator Unit or not - Yes or No
OSC Approved Parameters
This worksheet contains the regulatory approved rates for the Other System Charges.
AS Reserve
Enter the required values for the “Unit-Specific AS Agreement Parameters” in the cells shaded in yellow within the “AS Reserve” worksheet. As a default the Registered Capacity value sets the values for the subsequent values in yellow cells. These subsequent values can be overwritten by the user with values such as those in the user's AS agreement.
The user should vary the parameter "Half Hour Trading Period Average MW Output" in the green cell to develop a feel for how the payments change as a unit moves from a desynchronised state up to its full load.
AS CDGU Reactive Power
Reactive Power payments are calculated differently, depending on whether a Generator is centrally dispatched or not. The "AS CDGU Reactive Power" worksheet should not be used for service providers which are not centrally dispatched such as wind farms.
Enter the required values for the “Unit-Specific AS Agreement Parameters” in the cells shaded in yellow within the worksheet. Values can be overwritten by the user with values such as those in the user's AS agreement.
The user should vary the parameter "Half Hour Trading Period Average MW Output" in the green cell to develop a feel for how the payments change as a unit moves from a desynchronised state up to its full load.
AS Non CDGU Reactive Power
Reactive Power payments are calculated differently, depending on whether a Generator is centrally dispatched or not. The "AS Non CDGU Reactive Power" worksheet should not be used for service providers which are centrally dispatched such as wind farms.
Enter the "Wind Farm Capacity" in the yellow cell. This figure gets rounded up to the nearest integer. The Grid Code reactive power requirements are automatically generated. The AS Agreement values are assumed to be the same as the Grid Code reactive power requirements.
The "Scenario Parameters" consider 48 hour of half hour trading periods. The payments are based on the "Average MW Metered Output". The "Scenario Parameters" consider an arbitrary day with considerable variations in wind output which is proportional to the "Wind Farm Capacity" to exercise the calculations. The User can adjust the "Average MW Metered Output" for themselves.
Black Start
The worksheet sets out the station-specific hourly payment rates. The user can also enter a new station with its corresponding hourly payment rate.
Most black start stations have a number of units at that site. Depending on the characteristics of the local transmission system and generators, some black start stations may require more than one unit available at the site to be deemed capable of providing black start. This is reflected in the "Minimum Units Required" parameter which is in each AS Agreement.
Each black start unit must be above the Black Start Unit MW Threshold for that unit to be deemed to be available for black start. This is reflected in the "Black Start MW Threshold" parameter which is in each AS Agreement.
Each black start unit must be declared available (i.e "Profiled Black Start Availability in TP" set to 1 in the trading period) to be eligible for black start.
Each black start unit must not have failed a Type 2 or Type 3 to be eligible for black start.
Short Notice Declarations (SNDs)
Enter the required values for the “Scenario Parameters” in the cells shaded in yellow within the “Short Notice Declarations” worksheet.
The scenario parameters are such that the MW reduction which defines the SND is the “Total Availability Reduction in 1 hour (all events)”. This implements the provisions of multiple declarations within one hour.
Trip Charges
Enter the required values for the “Scenario Parameters” in the cells shaded in yellow within the “Trip Charges” worksheet. Every trip event is assess seperately for all three trip types and the largest of the three potential charges is charged.
Generator Performance Incentives (GPIs)
Enter the required values for the “Unit-Specific Contract Parameters” in the cells shaded in yellow within the “OSC GPI – Trading Period Charge” worksheet.
Enter the required values for the “Scenario Parameters” in the cells shaded in yellow within the “OSC GPI – Trading Period Charge” worksheet.
Enter the required values for the “Unit-Specific Contract Parameters” in the cells shaded in yellow within the “OSC GPI – Event Charge” worksheet.
Enter the required values for the “Scenario Parameters” in the cells shaded in yellow within the “OSC GPI – Event Charge” worksheet.

## AS Approved Parameters
Parameter | Value (ROI) | Value (NI) | Jurisdiction
Reserve |  |  | ROI
Primary Operating Reserve | 2.22 | 1.88
Secondary Operating Reserve | 2.13 | 1.81 | Centrally Dispatched Generator Unit ?
Tertiary Operating Reserve 1 | 1.76 | 1.5
Tertiary Operating Reserve 2 | 0.88 | 0.75 | Yes
Replacement Reserve (Sync) | 0.2 | 0.17
Replacement Reserve (De-Sync) | 0.51 | 0.44
POR Charge Rate on Deficit | 30 | 30
SOR Charge Rate on Deficit | 30 | 30
TOR1 Charge Rate on Deficit | 30 | 30
Incident Threshold Level | 49.5 | 49.5
Reserve MW Tolerance | 1 MW | 1 MW
Reserve Percentage Tolerance | 10% | 10%
Reactive Power
Reactive Power Lagging | 0.13 | 0.11
Reactive Power Leading | 0.13 | 0.11
AVR on Factor | 2 | 2
|  |  | Yes | NI
|  |  | No | ROI

## OSC Approved Parameters
Parameter | Value (ROI) | Value (NI)
Short Notice Declarations
SND Time Minimum | 5 | 5
SND Time Medium | 20 | 20
SND Time Zero | 480 | 480
SND Powering Factor | -0.3 | -0.3
SND Charge Rate | 40 | 32.8
SND Threshold | 15 | 15
Time Window for Chargeable SNDs | 60 min | 60 min
Trips
Direct Trip Rate of MW Loss | 15 | 15
Fast Wind Down Rate of MW Loss | 3 | 3
Slow Wind Down Rate of MW Loss | 1 | 1
Direct Trip Charge Rate | 4000 | 3400
Fast Wind Down Charge Rate | 3000 | 2550
Slow Wind Down Charge Rate | 2000 | 1700
Direct Trip Constant | 0.01 | 0.01
Fast Wind Down Constant | 0.009 | 0.009
Slow Wind Down Constant | 0.008 | 0.008
Trip MW Loss Threshold | 100 | 100
GPIs (Trading Period)
Minimum Generation | 1.18 | 1
Max Starts in 24 hour period | 0.6 | 0.25
Minimum on Time | 0.6 | 0.25
Reactive Power Leading | 0.29 | 0.25
Reactive Power Lagging | 0.29 | 0.25
Governor Droop | 0.29 | 0.25
Primary Operating Reserve | 0.12 | 0.1
Secondary Operating Reserve | 0.12 | 0.1
Tertiary Operating Reserve 1 | 0.12 | 0.1
Tertiary Operating Reserve 2 | 0.12 | 0.1
Late Declaration | 480 | 480
GPIs (Event)
Loading Rate | 0.59 | 0.5
Loading Rate Factor 1 | 60 | 60
Loading Rate Factor 2 | 24 | 24
Loading Rate Tolerance | 110% | 110%
De-Loading Rate | 0.59 | 0.5
De-Loading Rate Factor 1 | 60 | 60
De-Loading Rate Factor 2 | 24 | 24
De-Loading Rate Tolerance | 110% | 110%
Early Synchronisation | 2.65 | 2.25
Early Synchronisation Tolerance | 15 | 15
Early Synchronisation Factor | 60 | 60
Late Synchronisation | 26.47 | 22.5
Late Synchronisation Tolerance | 5 | 5
Late Synchronisation Factor | 55 | 55

## AS Reserve
ANCILLARY SERVICES : RESERVE
Approved AS Rates
Parameter | Value | Units
Primary Operating Reserve | 2.22 | Euro/MWh
Secondary Operating Reserve | 2.13 | Euro/MWh
Tertiary Operating Reserve 1 | 1.76 | Euro/MWh
Tertiary Operating Reserve 2 | 0.88 | Euro/MWh
Replacement Reserve (Sync) | 0.2 | Euro/MWh
Replacement Reserve (De-Sync) | 0.51 | Euro/MWh
POR Charge Rate on Deficit | 30 | days
SOR Charge Rate on Deficit | 30 | days
TOR1 Charge Rate on Deficit | 30 | days
Incident Threshold Level | 49.5 | Hz
Reserve MW Tolerance | 1 | MW
Reserve Percentage Tolerance | 10% | %
Unit-Specific AS Agreement Parameters
Parameter Name | Value | Units
Registered Capacity (Exported) | 192.5 | MW
Contracted POR | 20.8 | MW
Contracted SOR | 34.7 | MW
Contracted TOR1 | 34.7 | MW
Contracted TOR2 | 34.7 | MW
Contracted RR | 192.5 | MW
Minimum MW for POR | 19.3 | MW
Minimum MW for SOR | 19.3 | MW
Minimum MW for TOR1 | 19.3 | MW
Minimum MW for TOR2 | 19.3 | MW
Minimum MW for RR | 0 | MW
POR Decrement Rate | -1 | Number
SOR Decrement Rate | -1 | Number
TOR1 Decrement Rate | -1 | Number
TOR2 Decrement Rate | -1 | Number
RR Decrement Rate | -1 | Number
Synchronising Load | 1 | MW
Scenario Parameters
Parameter Name | Value | Units
Maximum Declared Availability | 192.5 | MW
Primary Operating Reserve | 20.8 | MW
Secondary Operating Reserve | 34.7 | MW
Tertiary Operating Reserve 1 | 34.7 | MW
Tertiary Operating Reserve 2 | 34.7 | MW
Replacement Reserve (Sync) | 192.5 | MW
Replacement Reserve (De-sync)
Half Hour Trading Period Average MW Output | 0 | MW
Calculated Payments / Charges
Payment Type | Approx Running Levels for Max Payment | OR Availability (MW) | Half Hour Trading Period Payment | Charge per 1 MW Shortfall for under Incident Threshold Level
Primary Operating Reserve | Average TP Output less than Minimum MW for POR (19.3 MW). | 0 | 0 | 1598.4
Secondary Operating Reserve | Average TP Output less than Minimum MW for SOR (19.3 MW). | 0 | 0 | 1533.6
Tertiary Operating Reserve 1 | Average TP Output less than Minimum MW for TOR1 (19.3 MW). | 0 | 0 | 1267.2
Tertiary Operating Reserve 2 | Average TP Output less than Minimum MW for TOR2 (19.3 MW). | 0 | 0
Replacement Reserve (Sync) | Unit considered to be Desynchronised. | 0 | 0
Replacement Reserve (De-sync) | Remaining capacity limits RR availability. | 192.5 | 49.0875

## AS CDGU Reactive Power
ANCILLARY SERVICES : REACTIVE POWER FOR CDGU
Approved AS Rates
Parameter | Value | Units
Reactive Power Lagging | 0.13 | Euro/Mvarh
Reactive Power Leading | 0.13 | Euro/Mvarh
AVR on Factor | 2 | factor
Unit-SpecificAS Agreement Parameters
Parameter Name | Value | Units
Registered Capacity (Exported) | 192.5 | MW
Synchronising Load | 1 | MW
Contracted Reactive Power (Lagging) | 144.4 | Mvarh
Contracted Reactive Power (Leading) | 63.3 | Mvarh
Scenario Parameters
Parameter Name | Value | Units
Declared Reactive Power (Lagging) | 144.4 | Mvar
Declared Reactive Power (Leading) | 63.3 | Mvar
Half Hour Trading Period Average MW Output | 115.5 | MW
Calculated Payments / Charges
Reactive Power Payment Category | Comment | Half Hour Trading Period Payment (If On) | Daily Payment (If On)
Reactive Power Lagging |  | 18.772 | 901.056
Reactive Power Leading |  | 8.229 | 394.992

## AS Non CDGU Reactive Power
ANCILLARY SERVICES : REACTIVE POWER FOR NON-CDGU
Approved AS Rates | [5 empty] | Scenario Parameters
[6 empty] | Trading Period | Average MW Metered Output | RP Capability Leading | RP Capability Lagging | Calculated Payment
Parameter | Value | Units
Reactive Power Lagging | 0.13 | Euro/Mvarh |  |  |  | # 1 | 0 | 0 | 0 | 0
Reactive Power Leading | 0.13 | Euro/Mvarh |  |  |  | # 2 | 0 | 0 | 0 | 0
AVR on Factor | 2 | factor |  |  |  | # 3 | 0 | 0 | 0 | 0
[6 empty] | # 4 | 1.5 | 0.65746 | 0.65746 | 0.17094
Unit-Specific Parameters | [5 empty] | # 5 | 2.25 | 1.3149 | 1.3149 | 0.34188
Wind Farm Capacity |  | 30 | MW |  |  | # 6 | 3.375 | 1.9724 | 1.9724 | 0.51282
Wind Farm Capacity (Rounded Up) |  | 30 | MW |  |  | # 7 | 5.0625 | 3.2873 | 3.2873 | 0.8547
[6 empty] | # 8 | 7.5938 | 4.6022 | 4.6022 | 1.1966
Unit-Specific AS Agreement Parameters | [5 empty] | # 9 | 11.3906 | 7.2321 | 7.2321 | 1.8803
Wind Farm Output |  | Grid Code |  | AS Agreement |  | # 10 | 17.0859 | 9.8619 | 9.8619 | 2.5641
% Max MW | MW Output | RP Leading | RP Lagging | RP Leading | RP Lagging | # 11 | 25.6289 | 9.8619 | 9.8619 | 2.5641
[%] | [MW] | [Mvar] | [Mvar] | [Mvar] | [Mvar] | # 12 | 30 | 9.8619 | 9.8619 | 2.5641
0% | 0 | 0 | 0 | 0 | 0 | # 13 | 21 | 9.8619 | 9.8619 | 2.5641
3.333% | 1 | 0.65746 | 0.65746 | 0.65746 | 0.65746 | # 14 | 14.7 | 9.2045 | 9.2045 | 2.3932
6.667% | 2 | 1.3149 | 1.3149 | 1.3149 | 1.3149 | # 15 | 10.29 | 6.5746 | 6.5746 | 1.7094
10% | 3 | 1.9724 | 1.9724 | 1.9724 | 1.9724 | # 16 | 10.29 | 6.5746 | 6.5746 | 1.7094
13.33% | 4 | 2.6298 | 2.6298 | 2.6298 | 2.6298 | # 17 | 10.29 | 6.5746 | 6.5746 | 1.7094
16.67% | 5 | 3.2873 | 3.2873 | 3.2873 | 3.2873 | # 18 | 20.58 | 9.8619 | 9.8619 | 2.5641
20% | 6 | 3.9448 | 3.9448 | 3.9448 | 3.9448 | # 19 | 22.638 | 9.8619 | 9.8619 | 2.5641
23.33% | 7 | 4.6022 | 4.6022 | 4.6022 | 4.6022 | # 20 | 24.9018 | 9.8619 | 9.8619 | 2.5641
26.67% | 8 | 5.2597 | 5.2597 | 5.2597 | 5.2597 | # 21 | 27.392 | 9.8619 | 9.8619 | 2.5641
30% | 9 | 5.9172 | 5.9172 | 5.9172 | 5.9172 | # 22 | 30 | 9.8619 | 9.8619 | 2.5641
33.33% | 10 | 6.5746 | 6.5746 | 6.5746 | 6.5746 | # 23 | 30 | 9.8619 | 9.8619 | 2.5641
36.67% | 11 | 7.2321 | 7.2321 | 7.2321 | 7.2321 | # 24 | 30 | 9.8619 | 9.8619 | 2.5641
40% | 12 | 7.8895 | 7.8895 | 7.8895 | 7.8895 | # 25 | 27.392 | 9.8619 | 9.8619 | 2.5641
43.33% | 13 | 8.547 | 8.547 | 8.547 | 8.547 | # 26 | 27.392 | 9.8619 | 9.8619 | 2.5641
46.67% | 14 | 9.2045 | 9.2045 | 9.2045 | 9.2045 | # 27 | 27.392 | 9.8619 | 9.8619 | 2.5641
50% | 15 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 28 | 27.392 | 9.8619 | 9.8619 | 2.5641
53.33% | 16 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 29 | 0 | 0 | 0 | 0
56.67% | 17 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 30 | 0 | 0 | 0 | 0
60% | 18 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 31 | 0 | 0 | 0 | 0
63.33% | 19 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 32 | 0 | 0 | 0 | 0
66.67% | 20 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 33 | 0.1 | 0 | 0 | 0
70% | 21 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 34 | 0 | 0 | 0 | 0
73.33% | 22 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 35 | 3 | 1.9724 | 1.9724 | 0.51282
76.67% | 23 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 36 | 9 | 5.9172 | 5.9172 | 1.5385
80% | 24 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 37 | 15 | 9.8619 | 9.8619 | 2.5641
83.33% | 25 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 38 | 21 | 9.8619 | 9.8619 | 2.5641
86.67% | 26 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 39 | 27 | 9.8619 | 9.8619 | 2.5641
90% | 27 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 40 | 30 | 9.8619 | 9.8619 | 2.5641
93.33% | 28 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 41 | 30 | 9.8619 | 9.8619 | 2.5641
96.67% | 29 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 42 | 30 | 9.8619 | 9.8619 | 2.5641
100% | 30 | 9.8619 | 9.8619 | 9.8619 | 9.8619 | # 43 | 27 | 9.8619 | 9.8619 | 2.5641
- | - | - | - | - | - | # 44 | 21 | 9.8619 | 9.8619 | 2.5641
- | - | - | - | - | - | # 45 | 15 | 9.8619 | 9.8619 | 2.5641
- | - | - | - | - | - | # 46 | 15 | 9.8619 | 9.8619 | 2.5641
- | - | - | - | - | - | # 47 | 9 | 5.9172 | 5.9172 | 1.5385
- | - | - | - | - | - | # 48 | 3 | 1.9724 | 1.9724 | 0.51282
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
- | - | - | - | - | -
>100% | 30 | 9.8619 | 9.8619 | 9.8619 | 9.8619

## AS Black Start
ANCILLARY SERVICES : BLACK START
Approved AS Rates
Parameter | Station | Value | Units
Black Start (Partial Fail) | BSSTF2_F | 30 | days
Black Start (Outright Fail) | BSSTF3_F | 90 | days
Black Start Rates | Station/Unit | Value | Units
Black Start (Aghada) | Aghada | 64.71 | Euro/h
Black Start (Ardnacrusha) | Ardnacrusha | 22.84 | Euro/h
Black Start (Erne) | Erne | 22.04 | Euro/h
Black Start (Lee) | Lee | 9.82 | Euro/h
Black Start (Liffey) | Liffey | 8.02 | Euro/h
Black Start (Turlough Hill) | Turlough Hill | 81.63 | Euro/h
Black Start (NEW UNIT/STATION) | Unit/Station Name |  | Euro/h
Unit-Specific AS Agreement Parameters
Parameter Name | Acronym | Value | Units
Contracted Minimum Units Required | NUR | 1 | No. Units
Black Start Unit MW Threshold 1 | BSUTH | 5 | MW
Black Start Unit MW Threshold 2 | BSUTH | N/A | MW
Black Start Unit MW Threshold 3 | BSUTH | N/A | MW
Black Start Unit MW Threshold 4 | BSUTH | N/A | MW
Scenario Parameters
Parameter Name | Acronym | Value | Units
Selected Station |  | Turlough Hill | Unit Name
Black Start Rate (based on station selection) | BSSA_RATE | 81.63 | Euro/h
Maximum Declared MW Available Unit 1 |  | 10 | MW
Maximum Declared MW Available Unit 2 |  | N/A | MW
Maximum Declared MW Available Unit 3 |  | N/A | MW
Maximum Declared MW Available Unit 4 |  | N/A | MW
Profiled Black Start Availability in TP Unit 1 | PDBSC | 1 | Factor 0<x<1
Profiled Black Start Availability in TP Unit 2 |  | N/A | Factor 0<x<1
Profiled Black Start Availability in TP Unit 3 |  | N/A | Factor 0<x<1
Profiled Black Start Availability in TP Unit 4 |  | N/A | Factor 0<x<1
Test 2 Result (if Fail, Test 3 Result should be Pass) | BSSTF2 | Pass | Test Result
Test 3 Result (if Fail, Test 2 Result should be Pass) | BSSTF3 | Pass | Test Result
Black Start Station Availability (for station) | BSSA(x) | 1 | factor
Calculated Payments / Charges
Payment Type | Payment | Charge
Black Start Station Availability Payment | 40.815
Black Start Station Charge |  | 0
Tertiary Operating Reserve 1 | 19.3 | 0 | 0
Tertiary Operating Reserve 2 | 19.3 | #VALUE! | 0
Replacement Reserve (Sync) | 1 | 0 | 0
Replacement Reserve (De-sync) | 1 |  | #VALUE!

## OSC Short Notice Declarations
OTHER SYSTEM CHARGES: SHORT NOTICE DECLARATIONS CHARGES
Approved OSC Rates
Parameter | Value | Units
SND Time Minimum | 5 | minutes
SND Time Medium | 20 | minutes
SND Time Zero | 480 | minutes
SND Powering Factor | -0.3 | factor
SND Charge Rate | 40 | Euro/MW
SND Threshold | 15 | MW
Unit-Specific Parameters
no Unit-specific parameters
Scenario Parameters
Parameter Name | Value | Units
Total Availability Reduction in 1 hour (all events) | 192.5 | MW
Notice Time | 0 | minutes
Calculated Charges
Notice Time Weight | SND Charge
1 | 7700

## OSC Trip Charges
OTHER SYSTEM CHARGES: TRIP CHARGES
Approved OSC Rates
Parameter | Value | Units
Direct Trip Rate of MW Loss | 15 | MW/s
Fast Wind Down Rate of MW Loss | 3 | MW/s
Slow Wind Down Rate of MW Loss | 1 | MW/s
Direct Trip Charge Rate | 4000 | Euro
Fast Wind Down Charge Rate | 3000 | Euro
Slow Wind Down Charge Rate | 2000 | Euro
Direct Trip Constant | 0.01 | factor
Fast Wind Down Constant | 0.009 | factor
Slow Wind Down Constant | 0.008 | factor
Trip MW Loss Threshold | 100 | MW
Unit-Specific Parameters
no Unit-specific parameters
Scenario Parameters
Parameter Name | Rate of Loss 15 MW/s | Rate of Loss 3 MW/s | Rate of Loss 1 MW/s
MW Loss at three Rates of Loss | 192.5
Calculated Charges
| Rate of Loss | Trip Category Check | Max MW Loss at Rate of Loss | Charge
A - Direct Trip | 15 | Direct Trip | 192.5 | 10087.473
B - Fast Wind Down | 3 | Fast Wind Down | 0 | <THRESHOLD
C - Slow Wind Down | 1 | Slow Wind Down | 0 | < THRESHOLD
Applicable Charge - MAX(A,B,C) |  |  |  | 10087.473

## OSC GPI - Trading Period Charge
OTHER SYSTEM CHARGES: GPI (TRADING PERIOD)
Approved OSC Rates
Parameter | Value | Units
Primary Operating Reserve | 0.12 | Euro/MWh
Secondary Operating Reserve | 0.12 | Euro/MWh
Tertiary Operating Reserve 1 | 0.12 | Euro/MWh
Tertiary Operating Reserve 2 | 0.12 | Euro/MWh
Reactive Power Lagging | 0.29 | Euro/Mvarh
Reactive Power Leading | 0.29 | Euro/Mvarh
Minimum Generation | 1.18 | Euro/MWh
Minimum on Time | 0.6 | Euro/MWh
Max Starts in 24 hour period | 0.6 | Euro/MWh
Governor Droop | 0.29 | Euro/MWh
Late Declaration | 480 | minutes
Unit-Specific Parameters
Parameter Name | Value | Units
Unit Type | THERMAL | -
Registered Capacity (Exported) | 192.5 | MW
Scenario Parameters
Parameter Name | Value | Units
Declared: Primary Operating Reserve | 10 | MW
Declared: Secondary Operating Reserve | 10 | MW
Declared: Tertiary Operating Reserve 1 | 16 | MW
Declared: Tertiary Operating Reserve 2 | 20 | MW
Declared: Reactive Power (Lagging) | 123.9489 | Mvar
Declared: Reactive Power (Leading) | 79.0451 | Mvar
Declared: Minimum Generation | 67.375 | MW
Declared: Minimum up-time (aka Minimum on Time) | 4 | min
Declared: Maximum Starts in 24 hour period | 2 | Number
Declared: Governor Droop | 4 | %
Calculated Charges
Generator Performance Incentive Characteristic | GPI Minimum Standard | Trading Period Charge
OPERATING RESERVE
Primary Operating Reserve | 9 | 0
Secondary Operating Reserve | 9 | 0
Tertiary Operating Reserve 1 | 15 | 0
Tertiary Operating Reserve 2 | 19 | 0
REACTIVE POWER
Reactive Power (Lagging) | 119 | 0
Reactive Power (Leading) | 76 | 0
MINIMUM GENERATION
Minimum Generation | 68 | 0 | As Min Gen is compliant, Min on Time and Max Starts charges cannot apply.
MINIMUM ON TIME
Minimum on Time (aka Minimum up-time) | 4 | 0 | As Min Gen is compliant, Min on Time charge cannot apply.
Maximum Starts in 24 hour period
Time to Synchronise | 3
Time from Sync to Min Load | 40
Minimum up-time | 4
Time to deload from Min Load to De-sync | 40
Minimum down-time | 4
Maximum Starts in 24 hr | 2 | 0 | As Min Gen is compliant, Max Starts charge cannot apply.
GOVERNOR DROOP
Governor Droop | 4 | 0
THERMAL
CCGT
HYDRO
WIND

## OSC GPI - Event Charge
OTHER SYSTEM CHARGES: GPI (EVENTS)
Approved OSC Rates
Parameter | Value | Units
Loading Rate | 0.59 | Euro/MWh
De-Loading Rate | 0.59 | Euro/MWh
Early Synchronisation | 2.65 | Euro/MW
Late Synchronisation | 26.47 | Euro/MW
Unit-Specific Parameters
Parameter Name | Value | Units
Registered Capacity (Exported) | 192.5 | MW
Maximum Declared MW Available | 192.5 | MW
Declared Minimum Generation | 68 | MW
Scenario Parameters
Parameter Name | Value | Units
Synchronisation Time Before Instructed Time | 20 | min | Synchronisation is chargeable if earlier than 15 mins
Synchronisation Time After Instructed Time | 40 | min | Synchronisation is chargeable if later than 5 mins
De-Loading Rate | 1.4167 | MW/min
Loading Rate (if starting from Hot State) | 1.4167 | MW/min
Loading Rate (if starting from Warm State) | 0.62963 | MW/min
Loading Rate (if starting from Cold State) | 0.31481 | MW/min
Calculated Charges
GPI Charge per Event
Early Synchronisation Charge | 42.5104
Late Synchronisation Charge | 3242.575
| Required Rate between 0 MW to Grid Code Min Load | Time to De-load/Load | GPI Charge per Event
De-Loading Charge | 1.7 | 48 | 181.72
Loading Charge (if started from Hot State) | 1.7 | 48 | 181.72
Loading Charge (if started from Warm State) | 0.75556 | 108 | 408.87
Loading Charge (if started from Cold State) | 0.37778 | 216 | 817.74