## Scarcity in BM only
Scenario for capacity year | Cap requirement is 280MW, 280MW of RO bought
Scenario for settlement period | Day ahead expectation: |  |  | Demand at 240MW, 30MW of wind, no thermaloutages
| Outturn: |  |  | Scarcity at peak demand, baseload g partial outage, wind blows at 30MW
Assumptions
| RO Strike Price | 500 | EAP (Day Ahead Price) |  |  | 100
| 2 way CfD Strike Price | 80 | IMBP |  |  | 10000
[9 empty] | Generator payment (without RO), €k |  |  |  | Generator payment (with RO under Option 4b), €k
Plant characteristics | Capacity provider | Nameplate | ROQ | 2 way CfD | EAQ | MQ | Outturn events |  | Day Ahead trades | BM | Old 2 way CfD | Total without RO | Day Ahead trades | BM | New 2 way CfD | RO diff payments | Total with RO
thermal baseload | A (baseload) | 100 | 90 | 90 | 100 | 50 | partial outage | A | 10 | -500 | -1.8 | -491.8 | 10 | -500 | -1.8 | 0 | -491.8
thermal mid merit | B (mid-merit) | 100 | 90 | 90 | 100 | 100 |  | B | 10 | 0 | -1.8 | 8.2 | 10 | 0 | -1.8 | 0 | 8.2
thermal peak | C (peaker) | 100 | 90 | 20 | 10 | 100 |  | C | 1 | 900 | -0.4 | 900.6 | 1 | 900 | -0.4 | -760 | 140.6
wind cap credit = 10% | D (wind) | 100 | 10 |  | 30 | 30 | wind blows at 30% | D | 3 | 0 | 0 | 3 | 3 | 0 | 0 | 0 | 3
| Total | 400 | 280 | 200 | 240 | 280 |  | Total | 24 | 400 | -4 | 420 | 24 | 400 | -4 | -760 | -340
[8 empty] | Supplier payment (without RO) | Supplier payment (without RO), €k |  |  |  | Supplier payment (with RO under Option 4b), €k
| Supplier |  | Deemed ROQ | 2 way CfD | EAQ | MQ |  |  | Day Ahead trades | BM | Old 2 way CfD | Total without RO | Day Ahead trades | BM | New 2 way CfD | RO diff payments | Total with RO
| E |  | 140 | 100 | 120 | 140 |  | E | -12 | -200 | 2 | -210 | -12 | -200 | 2 | 190 | -20
| F |  | 140 | 100 | 120 | 140 |  | F | -12 | -200 | 2 | -210 | -12 | -200 | 2 | 190 | -20
| Total |  | 280 | 200 | 240 | 280 |  | Total | -24 | -400 | 4 | -420 | -24 | -400 | 4 | 380 | -40
| Gen load following adj |  | 1
| Supplier load following adj |  | 1

## scarcity in DAM and BM
Scenario for capacity year | Cap requirement is 280MW, 280MW of RO bought
Scenario for settlement period | Day ahead expectation: |  |  | Scarcity at peak demand, baseload g partial outage, wind blows at 30MW
| Outturn: |  |  | As ex ante
Assumptions
| RO Strike Price | 500 | EAP (Day Ahead Price) |  |  | 10000
| 2 way CfD Strike Price | 80 | IMBP |  |  | 10000
[9 empty] | Generator payment (without RO), €k |  |  |  | Generator payment (with RO under Option 4b)
Plant characteristics | Capacity provider | Nameplate | ROQ | 2 way CfD | EAQ | MQ | Outturn events |  | Day Ahead trades | BM | Old 2 way CfD | Total without RO | Day Ahead trades | BM | New 2 way CfD | RO diff payments | Total with RO
thermal baseload | A (baseload) | 100 | 90 | 90 | 50 | 50 | partial outage | A | 500 | 0 | -892.8 | -392.8 | 500 | 0 | -37.8 | -855 | -392.8
thermal mid merit | B (mid-merit) | 100 | 90 | 90 | 100 | 100 |  | B | 1000 | 0 | -892.8 | 107.2 | 1000 | 0 | -37.8 | -855 | 107.2
thermal peak | C (peaker) | 100 | 90 | 20 | 100 | 100 |  | C | 1000 | 0 | -198.4 | 801.6 | 1000 | 0 | -8.4 | -855 | 136.6
wind cap credit = 10%, average load factor = 30% | D (wind) | 100 | 10 |  | 30 | 30 | wind blows at 30% | D | 300 | 0 | 0 | 300 | 300 | 0 | 0 | -95 | 205
| Total | 400 | 280 | 200 | 280 | 280 |  | Total | 2800 | 0 | -1984 | 816 | 2800 | 0 | -84 | -2660 | 56
[8 empty] | Supplier payment (without RO) | Supplier payment (without RO), €k |  |  |  | Supplier payment (with RO under Option 4b)
| Supplier |  | Deemed ROQ | 2 way CfD | EAQ | MQ |  |  | Day Ahead trades | BM | Old 2 way CfD | Total without RO | Day Ahead trades | BM | New 2 way CfD | RO diff payments | Total with RO
| E |  | 140 | 100 | 140 | 140 |  | E | -1400 | 0 | 992 | -408 | -1400 | 0 | 42 | 1330 | -28
| F |  | 140 | 100 | 140 | 140 |  | F | -1400 | 0 | 992 | -408 | -1400 | 0 | 42 | 1330 | -28
| Total |  | 280 | 200 | 280 | 280 |  | Total | -2800 | 0 | 1984 | -816 | -2800 | 0 | 84 | 2660 | -56
| Gen load following adj |  | 1
| Supplier load following adj |  | 1