## peaker not avail
Scenario for capacity year | Cap requirement is 280MW, 280MW of RO bought
Scenario for settlement period | Ex ante expectation | Demand below peak, wind producing at 30% load factor, generator C not needed
| Outturn: | Scarcity at below peak demand, generator C needed but not available
Assumptions
| RO Strike Price | 500
| Day Ahead Market Price | 100
| BM price | 10000
[6 empty] | Generator payment: Eirgrid proposal |  |  |  |  | Generator payment: Option 4b | [5 empty] | Generator payment: Option 3 (DAM)
Plant characteristics | Capacity provider | Nameplate | ROQ | EAQ | MQ |  | Ex ante trades | Energy imbalances | Reliability imbalances | Total |  | Ex ante trades | BM payments | RO diff payments | Total |  |  | Ex ante trades | BM payments | RO diff payments | Total
thermal baseload | A (thermal baseload) | 100 | 90 | 100 | 100 | A | 10000 | 0 | 247678.5714 | 257678.5714 | A | 10000 | 0 | 0 | 10000 | A better off in Eirgrid proposal as only fully penalised for lack of reliability on 90MWx load following, not 100MW it has sold in DAM | A | 10000 | 0 | 0 | 10000
thermal mid merit | B (thermal mid-merit) | 100 | 90 | 70 | 100 | B | 7000 | 15000 | 247678.5714 | 269678.5714 | B | 7000 | 300000 | -156071.4286 | 150928.5714 | B better off in Eirgrid proposal as does not get marginal benefit in Option 4b on energy it had sold forward in DAM | B | 7000 | 300000 | 0 | 307000
thermal peak | C (thermal peaker) | 100 | 90 | 0 | 0 | C | 0 | 0 | -702321.4286 | -702321.4286 | C | 0 | 0 | -702321.4286 | -702321.4286 | Different outcome because of load following | C | 0 | 0 | 0 | 0
wind cap credit = 10% | D (wind) | 100 | 10 | 30 | 30 | D | 3000 | 0 | 206964.2857 | 209964.2857 | D | 3000 | 0 | 0 | 3000 | D better off in Eirgrid proposal as gets penalised as heavily in Option 4b for not delivering volumes committed to in DAM | D | 3000 | 0 | 0 | 3000
| Total | 400 | 280 | 200 | 230 | Total | 20000 | 15000 | 0 | 35000 | Total | 20000 | 300000 | -858392.8571 | -538392.8571 |  | Total | 20000 | 300000 | 0 | 320000
[6 empty] | Supplier payment: Eirgrid proposal |  |  |  |  | Supplier payment: Option 4b | [5 empty] | Supplier payment: Option 3 (DAM)
| Supplier |  | Deemed ROQ | EAQ | MQ |  | Ex ante trades | Energy imbalances | Reliability imbalances | Total |  | Ex ante trades | BM payments | RO diff payments | Total |  |  | Ex ante trades | BM payments | RO diff payments | Total
| E |  | 100 | 100 | 100 | E | -10000 | 0 | 0 | -10000 | E | -10000 | 0 | 0 | -10000 | Same net outcome | E | -10000 | 0 | 0 | -10000
| F |  | 130 | 100 | 130 | F | -10000 | -15000 | 0 | -25000 | F | -10000 | -300000 | 285000 | -25000 | F worse off under Eirgrid- even if reliability imbalance recycled, these is a reduced amount due to load following | F | -10000 | -300000 | 0 | -310000
| Total |  | 230 | 200 | 230 | Total | -20000 | -15000 | 0 | -35000 | Total | -20000 | -300000 | 285000 | -35000 |  | Total | -20000 | -300000 | 0 | -320000
[9 empty] | not enough money to compensate F for load shed, whereas under 4b compesnated as bought out of BM |  | Gen load following adj |  |  |  | 82.14%
[9 empty] | marginal incentive blunted by load following in eirgrid but not 4b, where fully reflects BM |  | Supplier load following adj |  |  |  | 1